Fermilab/BD/TEV

Beams-doc-860-v0

November 06, 2003

Version 4.0

Tevatron Beam Position Monitor Upgrade’s

Software Specifications for

Data Acquisition

DRAFT DRAFT DRAFT

Margaret Votava, Luciano Piccoli, Dehong Zhang

Fermilab, Computing Division, CEPA

Brian Hendricks

Fermilab, Beams Division, Accelerator Controls Department

Abstract

Data acquistion software specification document for the upgrade of the tevatron BPM/BLMs.

Overview	4

Requirements	5

Goals	5

Readout	6

Data Acquisition	6

BPM Data Acquisition Modes	6

BLM Data Acquisition Modes	7

State Diagram	8

Configuration Parameters	9

Interface to Online Software	9

ACNET Device Mapping	9

Data Structures (Output Data)	10

Generic Headers	10

BPM Non Turn By Turn	11

BPM Turn By Turn	11

BLM Data Structures	12

Interface to BPM/BLM Hardware	12

Calibration	13

Diagnostics, test suite, and simulation 	13

Diagnostics	13

Self-Testing Procedures	14

Monitoring	14

Glossary	14

Appendix	14

Current BPM data structures	14

BPM Single Turn (Flash)	15

BPM Closed Orbit	15

BPM Data Structure	15

Overview	4

Requirements	5

Goals	5

Readout	6

Data Acquisition	6

BPM Data Acquisition Modes	6

BLM Data Acquisition Modes	7

State Diagram	8

Configuration Parameters	9

Interface to Online Software	9

ACNET Device Mapping	9

Data Structures (Output Data)	10

Generic Headers	10

BPM Non Turn By Turn	11

BPM Turn By Turn	11

BLM Data Structures	12

Interface to BPM/BLM Hardware	12

Calibration	13

Diagnostics, test suite, and simulation 	13

Diagnostics	13

Self-Testing Procedures	14

Monitoring	14

Glossary	14

Appendix	14

Current BPM data structures	14

BPM Single Turn (Flash)	15

BPM Closed Orbit	15

BPM Data Structure	15

# Overview

This note documents accumulated knowledge about the software and data formats needed for the data acquisition part of the Tevatron BPM upgrade project. The data acquisition software will run on the VME front-end computers. Figure 1 shows the software structure and the different elements involved with the BPM upgrade project.

(this diagram should show multiplicity – ie, n crates, n daq engines, 1 vax)

Figure 1 - Overall software architecture

This document describes the portion of code that resides on the front-end microprocessors also referred to as the Data Acquisition (DA) software. Online software resides on the VAX and DAQ engines and forms the primary (but not exclusive) bridge between user code and BPM data.

Each front-end depicted in the figure is a VME crate holding a series of BPM and BLM VME boards. One crate is also referred as a house. There are 24 houses around the Tevatron ring, and each house has up to 12 BPM boards and 8 BLM boards. Figure 2 illustrates the organization of the cards in the VME crate.

Figure 2 - Elements within a house

We need a diagram of a house here … A given front end crate aka house contains a single crate controller and several BPM and BLM cards. See document xyz for the hardware specifications of these boards. The front end host  will run VxWorks and be VME (VXI?) based.  All control and data being transferred to/from the individual cards will pass through the front end host.

## Requirements

Because of the code base of existing applications, the BPM replacement system must continue to support the existing architecture. This implies:

- From the online application perspective, all communication with the front ends is via ACNET devices. This includes data readout as well as setting readout parameters. Internal diagnostics, however, do not have this constraint.

- Data collection happens asynchronously from data readout, ie, the BPMs can be configured to take data continuously on certain triggers, but the data is not read out until later. Not all data that is collected is read out. This implies that the DA must manage readout requests from the online software.

- “Event assembly” is done by the online software, not the DA, therefore a given BPM house does not need to have any knowledge about any other BPM house(s).

- Embedded boards will run VxWorks

- There is one VME processor in each house running the front-end DA, which will be responsible for handling multiple BPM and BLM cards.

## Goals

- The BPMs should detect state changes via the state devices (in the old system, the sequencer would notify the BPMs of changes). This will help to reduce the complexity of the sequencer, allow for faster builds and testing of BPM changes, and push the knowledge of BPM behavior to the BPMs themselves.

# Readout

I don’t have a handle here on which boards are receiving the triggers – the BPM themselves or the front end host, or both? The boards must, but how is the host notified that the measurement has been completed?

## Data Acquisition

The  front-end processor reads data from the BPM/BLM hardware and passes it on to the online applications. The front-end readout events are armed by TCLK events or state device transitions and triggered by BSYNCH signals. There is the option of having programmable delays for triggering.

We don’t know the hardware configuration here, so this is pretty sketchy. We imagine that the hardware (BPM and BLM cards), once activated, is running in a continous acquistion mode filling n local circular buffer(s) with closed orbit measurements .This passive acquisition mode will be interrupted by a triggered mode with single turn or turn by turn events which are store data in different local memory location(s).

Depending on the hardware configuration the front-end cards will have to switch between data acquisition modes in order to process users requests. Mode switching will be required if the hardware is not capable of collecting beam position continously.

If the hardware does not require mode switching, all information about orbits and single turns and turn by turn can be made available simultaneously.

When the front end host receives a readout request via one of the various ACNET protocols, data will be read out from the local memory over VME and repackaged/buffered as necessary before being returned.

### BPM Data Acquisition Modes

There are two different types of data the BPM can collect:

- turn  – a single instantaneous measurement based on a specific bunch

- Closed orbit - an average of the last n measurements. The average is usually based on 8, 16, 32 or 64 single turn measurements.

It is important to note that for turn measurements, all bpms are triggered off by the same bunch. However, for closed orbit measurements, the specific bunches used in the averaging can be different across BPMs.

The data acquisition system must support buffers of N events for both of these data types. For turn buffers, the arrays are of N consecutive measurements (ie, Turn by Turn). On the other hand, closed orbit buffers are built by a N triggers of a specific type. Time interval too? Can be built by multiple triggers? How many of these can happen in parallel? Need a repeating one for quench post mortems. Is this also called profiling? Or  do you profile with turn by turn?. What of these is done in the hardware/firmware, and what is done by the controller? EG, the controller can have enough memory to keep several buffered closed orbits if the time between triggers is long enough not to overload the CPU.

It is not understood if the hardware design will support acquiring all of these various types of data in parallel, so BPMs may need to be configured to operate in one of the following modes:

Single Closed Orbit - Based on average beam position. The front-end software should also be able to receive and process requests for averaging closed orbits over any number of turns (for the purpose of averaging out synchrotron oscillations).

Buffered Closed Orbit – An array of closed orbit measurements. This array can be built by a repeating trigger of a specific type.

Single Turn - Position of a single pass of the beam (first bunch) through the BPM. The BPMs must get the position of the same bunch for the same revolution.

Turn By Turn - Collection of N consecutive single turn measurements.

### BLM Data Acquisition Modes

The BLMs on the other hand are much simpler.

Is BLM data triggered or is it just continuously read out? There are no buffering requirements here, right?

Is BLM averaged too? Has to be read on every BSYNCH?

## State Diagram

Please refer to the Tevatron States Device and Clock Events URL: http://www-bdnew.fnal.gov/tevatron/adcon/tev_states.html for a detailed description of the tevatron state diagram.

State Devices of interest to the BPMs are:

V:CLDRST – state of the Tev Collider

V:TEVMOD – tevatron high-level mode (colliding beams, protons only, dry squeeze, ramping, recovery/turn on, off)

V:COALP – proton beam type (coalesced or uncoalesced)

V:COALA – pbar beam type (coalesced or uncoalesced)

V:TVBEAM – beam status (no beam, protons, pbars or protons and pbars)

BPMs need to provide the following functionality through the various states (V:CLDRST)

Proton Injection Porch

From the time the tevatron is in recovery (no TCLK event?) until it reaches either the proton injection porch (event $43), the BPMs are not required to be doing anything.  Does an inventory of the BPMs – are they working etc. What will be the communication path to notify the smoothing programs of bad BPMs? What type of data is taken here?

Proton Injection Tuneup

When the TCLK event $2B + $4D is received, the BPMs should mark themselves in batch mode (uncoalesced). Only proton data is needed in this state. Take both single turn, in particular, first turn, as well as triggered (either on a TCLK event or a TCLK event + delay) closed orbit data in this state. No pbar data available.

Reverse Injection

Currently only uses Main Injector BPM data taking closed orbit data triggered on a TCLK.

Inject Protons

Switch now to coalesced beam depending on the operational mode (we can tell this from V:TEVMOD ? Check that from V:COALP). SDA is collecting closed orbit data on demand. May want this to be triggered?

Pbar Injection Porch

SDA collecting proton closed orbit data on demand.

Inject Pbar

Both p and pbar data needed here. Collecting closed orbit data on TCLK events as well as on demand. There may be unique cogging values for each BPM. What BPM data is needed to generate this? How and when is the cogging information loaded?

Acceleration

Profiling data taken. Profiling is a closed orbit measurement taken at n points during the acceleration process at 100GeV, 200GeV,... , 980GeV. Right now p only – pbar would be nice. Currently generated by a TCLK event that is coming from the CAMAC timing modules. Could be done with internal timers?

## Configuration Parameters

| Name | Description | When can Change | Range |
| --- | --- | --- | --- |
| Sample Size | Number of samples used in closed orbit averaging | Proton Injection Tuneup | N - M |
| Operational Mode Can these be done in parallel? | Define the current mode of operation of the BPMs | On state device changes and on manual request | Closed Orbit, Single Turn or Turn by Turn |

# Interface to Online Software

This section defines how data and commands are exchanged between the front-end DAQ software and the online software. ACNET will be the means of transportation of data and commands between peers.

The online software can make these types of request:

- Arm turn by turn

- Arm single turn

- Enable closed orbit mode

- Enable diagnostics mode

- Disable diagnostics mode

- Get turn by turn data

- Get single turn data

- Get closed orbit data

Requests may be made in parallel by disjoint applications, and some mechanism for avoiding conflics must be designed.

BPM and BLM data read by the online software will be organized according to the data structures defined in the following section. Current online applications do not need to be rewritten in order to comply with the structures. The necessary changes will be made at the BPMUTI library level.

The supported ACNET protocols will be SETDAT, RETDAT and Fast Time Plot (FTP). The front-end must be able to generate FTP data at a rate up to 500Hz.

## ACNET Device Mapping

The following ACNET devices will be used for reading BPM and BLM data from the front-end DAQ:

| Device | Description |
| --- | --- |
| Z:BPM[01-24]TBTP | Proton turn by turn data (the same device is used for single turn data) |
| Z:BPM[01-24]COP | Proton closed orbit data |
| Z:BLM[01-24]P | Proton loss intensities |
| Z:BPM[01-24]TBTPB | Pbar turn by turn data (the same device is used for single turn data) |
| Z:BPM[01-24]COPB | Pbar closed orbit data |
| Z:BLM[01-24]PB | Pbar loss intensities |

The following ACNET devices will be used for commanding the front-end DAQ software:

| Device | Description |
| --- | --- |
| Z:BPM[01-24]CMDP | Commands for proton measurements |
| Z:BPM[01-24]CMDPB | Commands for pbar measurements |
| Z:BPM[01-24]D | Diagnostic commands |

Supported ACNET Protocols include:

- RETDAT/SETDAT

- FTP (fast time plot)

The snapshot protocol (Not to be confused with a BPM snapshot!!!!!) will not be supported by the front-end DAQ.

## Data Structures (Output Data)

The data sent from the front-end DAQ to the BPM library and/or applications is based in the following C data structures. For compatibility, the BPM libraries will be responsible for extracting subsets from these data, which are required by existing application programs.

### Generic Headers

typedef struct BPM_TIME {

ulong timestamp;		/* timestamp in seconds (GMT) */

ulong nanoseconds;		/* nanoseconds */

}

typedef struct TRIGGER_INFO {
    to be defined;

}

typedef struct TEVATRON_BPM_HEADER {

long endian_type;		/* 0    -> little endian,

else -> big endian */

long version;			/* data structure version */

long status;			/* overall status: zero = OK */

BPM_TIME time;		/* time stamp */

ulong turn_number;		/* starting turn number */

ulong num_turns;		/* number of turns in data */

double time_in_cycle;	/* starting time in cycle */

long data_type;		/* flash/snapshot/profile/TBT/etc */

TRIGGER_INFO trigger_info;/* trigger information */

long data_source;		/* 0 -> beam,

1 -> calibration system,

2 -> software diag,

3 -> hardware diag */

long particle_type;		/* 0 -> proton, 1 -> pbar */

long bunch_type;		/* 0 -> uncoalesced, 1 -> coalesced */

long scaled_data;		/* 0 -> raw data, 1 -> scaled data */

long machine_state;		/* value of V:CLDRST */

long helix_state;		/* 0 -> helix off, 1 -> helix on */

}

### BPM Non Turn By Turn

typedef struct TEVATRON_BPM_FRAME_DATA {

long frame_number;		/* ordinal number in front end */

BPM_TIME time;		/* time stamp */

ulong turn_number;		/* starting turn number */

double time_in_cycle;	/* starting time in cycle */

long num_detectors;		/* number of detectors present */

float positions[12];	/* position values in mm */

float intensities[12];	/* intensity values */

long status[12];	/* status values */

}

Proposed status values:

OK = 0

invalid reading = 1 (too little beam intensity?)

alarm level = 3 (if we want alarm limits)

saturated = 5

error = -1 (error reading value (hardware error?))

unequipped = -2 (channel is not in use)

This would be the final structure of the ACNET device for display, snapshot, profile, and flash frames.

typedef struct TEVATRON_BPM_ORBIT_DATA {

TEVATRON_BPM_HEADER	header;

long num_frames;	/* number of frames returned */

TEVATRON_BPM_FRAME_DATA frame_data[];

}

### BPM Turn By Turn

typedef struct TEVATRON_BPM_TBT_TURN {

unsigned long	turn_number;/* turn number */

float position;		/* position in mm */

float intensity;		/* beam intensity */

}

This would be the final structure of the ACNET device for turn by turn data.

typedef struct TEVATRON_BPM_TBT_DATA {

TEVATRON_BPM_HEADER	header;

long status;		/* detector status */

long num_turns;	/* number of turns returned */

TEVATRON_BPM_TBT_TURN turn_data[];

}

### BLM Data Structures

typedef struct TEVATRON_BLM_FRAME_DATA {

long frame_number;		/* ordinal number in front end */

BPM_TIME time;		/* time stamp */

ulong turn_number;		/* starting turn number */

double time_in_cycle;	/* starting time in cycle */

long num_detectors;		/* number of detectors present */

float losses[24];		/* loss values in rads/sec */

long status[24];		/* status values */

}

Proposed status values:

OK = 0

alarm level = 3 (if we want alarm limits)

saturated = 5

error = -1 (error reading value (hardware error?))

unequipped = -2 (channel is not in use)

This would be the final structure of the ACNET device for display, snapshot, profile, and flash frames.

typedef struct TEVATRON_BLM_DATA {

TEVATRON_BPM_HEADER	header;

long num_frames;	/* number of frames returned */

TEVATRON_BLM_FRAME_DATA frame_data[];

}

# Interface to BPM/BLM Hardware

The front-end software will access data from the BPM/BLM hardware through VME memory mapped buffers. Information about protons and pbars will be available in different addresses, and each type of particle will have at least two streams of information. One containing the latest position information while the other has average position information. (Is this the type of data in the streams?)

Additionally, there will be other memory mapped regions used to pass configuration and diagnostics data from the front-end to the hardware and vice-versa.

The complete definition of the interface to BPM/BLM hardware depends on further specification/design of the boards. For front-end software development and testing purposes, the interface with the BPM/BLM hardware will be simulated until actual boards are available for use.

# Calibration

Calibration constants need to be received and sent down to the DSPs. Calibration data can either be sent automatically upon state device changes or manually. What is the calibration data? How often it is downloaded and when?

Calibrations will be taken at least once after/before each store.

# Diagnostics, test suite, and simulation

## Diagnostics

The DAQ software will provide diagnostics data both via ACNET devices and using other protocol over ethernet. It will provide means for operators or programs to detect a bad or misbehaving BPM.

The preferred protocol for implementing diagnostics is sockets over TCP/IP. Each front-end will provide standard ports for requesting tests, and the results can either be made available through ACNET devices, such that test values can be read by the VAX applications, or sent via sockets to diagnostics programs running on the Sun machines.

Some diagnostics operations follow:

Generate close orbit: return known closed orbit values via ACNET and/or sockets.

Generate turn by turn: return known values for a turn by turn measurement via ACNET and/or sockets.

Generate single turn: return known values for a single turn measurement via ACNET and/or sockets.

Check BPM hardware: run test procedures in the BPM hardware (one or all the BPM boards) – if supported by the hardware. Return findings via ACNET and/or sockets.

Check BLM hardware: run test procedures in the BLM hardware (one or all the BLM boards) – if supported by the hardware. Return findings via ACNET and/or sockets.

Get buffers: return current contents of all (or selected) data buffers via socket.

Set ACNET devices to known values: specify values to be set in the ACNET devices.

## Self-Testing Procedures

The front-end DAQ should be able to perform tests on itself and on the associated BPM hardware. Results from self-tests should be available to user applications.

Hardware tests will be performed if supported, i.e., the hardware should have the capability of receiving triggers from the front-end and generate data for self-tests.

## Monitoring

The front-end DAQ should periodically send status and statistics messages to a monitor, via either ACNET devices or socket connections. There should be a central monitoring application which receives data from all BPM front-ends.

Data from the front-end include:

Buffer usage

Up time

Available memory

Status of processes

Number of requests

Tevatron status

# Glossary

Time Line Generator (TLG) – one [of several] of the TCLK sources. The TLG is a continuous cycle sends out various TCLK signals in a periodic fashion. The particular TCLK signals it sends is a function of its mode which in turn is set by the sequencer. An example mode is xzy which would generate the TCLK signals for xyz.

# Appendix

## Current BPM data structures

#### BPM Single Turn (Flash)

#define HOUSE_CHANNELS    12

typedef struct BPM_FLASH_DATA {

char positions[HOUSE_CHANNELS];/* raw position data (ADC counts) */

uchar intensities[HOUSE_CHANNELS]; /* raw intensity data */

ushort valid;          /* valid data bits */

char timestamp[3];     /* base timestamp in inverted byte order */

uchar timeoff;         /* BCD encoded timestamp offset */

} BPM_FLASH_DATA;

#### BPM Closed Orbit

typedef struct BPM_ORBIT_DATA {

char positions[HOUSE_CHANNELS]; /* raw position data(ADC counts) */

ushort valid;       /* valid data bits (bit #7 indicates alarm */

/*    limits used - 0-low, 1-high) */

uchar abort;        /* abort status bits */

uchar alarm_abort;  /* alarm status in low nibble and */

/*    abort status in high nibble */

uchar alarm;        /* alarm status bits */

char timestamp[3];  /* timestamp in inverted byte order * 1000.0 */

} BPM_ORBIT_DATA;

#### BPM Data Structure

typedef struct BLM_DATA {

uchar raw_losses[HOUSE_CHANNELS];     /* raw loss data */

uchar status;      /* BLM status */

char timestamp[3]; /* timestamp in inverted byte order * 1000.0 */

} BLM_DATA;

# Text boxes

ACNET

BPM

UTI

Sequencer

T pages

CLIB

VAX  (n)

ACNET

MOOC

DAQ Front-end Applications

Front-End (n)

Sun (DAQ engines) (n)

DAQ Jobs

Windows/Linux (n)

Java Application

Ethernet/RMI

ACNET java

BPM UTI

java

Ethernet

Front-end

board

BPM

board

BPM

board

BLM

board

VME

bus

Ethernet

Online

Software

Front-end crate (house)

FE Board

or

Crate Controller

Timming Module

BPM Cards

BLM Cards