| LHC-CT-ES-0004 rev 0.1 AB-OP 780566 2006-10-02 |
| --- |
| Functional Requirements |
| The Wire Scanner Application REquirements |
| Abstract The required elements for the Wire Scanner Software Application are listed, described and explained here. |
| Prepared by : E. McCrory, Fermilab D. Nicklaus, Fermilab M. Lamont AB/OP | Checked by : R. Alemany, AB/CO G. Arduini, AB/ABP G. Crockford, AB/OP J-J. Gras, AB/BI M. Giavannozzi, AB/ABP S. Gilardoni, AB/ABP H. Schmickler, AB/CO J. Wenninger, AB/OP T. Bolshakov, Fermilab S. Gysin, Fermilab D. McGinnis, Fermilab J. Patrick, Fermilab | Approved by: R. Bailey, AB/OP R. Jones, AB/BI H. Schmickler, AB/CO |
| History of Changes |
| Rev. No. | Date | Pages | Description of Changes |
| 0.1 | 2007-04-17 2007-04-24 2007-05-09 2007-06-05 | 9 10 10 All | First draft Second draft Third draft, with comments from M.L. Submission for engineering check |

Table of Contents

1.	Introduction	4

1.1	About this document	5

2.	Application Overview	5

2.1	Objectives	5

2.2	Roles and Responsibilities	6

3.	Functional Requirements	6

3.1	Functionality	6

3.1.1	Basic Considerations	6

3.1.2	Basic Measurement and Display Capabilities	7

3.1.2.1	Key Parameters	8

3.1.2.2	Emittances and Bunch Selection	9

3.1.3	Fits	10

3.1.4	Data Archiving and Retrieval	10

3.2	Scope, Performance and Concurrency	11

4.	Observations and Open Questions	12

5.	§ Discussion of Version 0 of WSA	12

6.	References	14

# Introduction

Wire scanners are one of the fundamental beam diagnostic devices that will be used in the Large Hadron Collider (LHC).  The LHC wire scanners operate in a conventional manner. First, a thin, robust wire passes very quickly though the particle beam.  As the beam hits the wire, prompt particle radiation is produced that is proportional to the intensity of the beam.  High-speed scintillators are positioned downstream of the wire so that the intensity of the resulting radiation can be measured.  The position of the wire and the intensity of the radiation are recorded.  The intensity at the scintillators, as a function of the precise wire position, yields the transverse profile of the beam.  One wire is horizontal and travels vertically through the beam, producing a vertical profile.  The vertical wire that travels horizontally through the beam produces the horizontal beam profile.

This device is capable of measuring the profile of each individual bunch in the LHC.  This wire scanner simplifies the measurement of the wire position over a rotating wire (as in the Fermilab Tevatron) by moving the wire on a linear path through the beam.  Each scan of the wire is actually two scans: a scan in, followed quickly by a return scan.

The LHC will have four wire scanners, one for each plane (horizontal and vertical) and for each beam.  These devices are identified as:

| Device Name | Plane | Beam | Position |
| --- | --- | --- | --- |
| LHC.BWS.US45.BH1 | H | 1 | LHC1 Point 4 |
| LHC.BWS.US45.BV1 | V | 1 | LHC1 Point 4 |
| LHC.BWS.US45.BH2 | H | 2 | LHC2 Point 4 |
| LHC.BWS.US45.BV2 | V | 2 | LHC2 Point 4 |

The hardware interface is through the wire scanner front end.  This front end also sorts the data and it does analysis of the beam profile.  The software interface to the front end is through the FESA class BWSLHC.

The wires can be scanned only if the LHC beam power is low enough to avoid damaging the wires or the LHC itself—a certainty at the full design power of the LHC.  There will be checks in the front end to prevent an inadvertent scan during intense beam conditions.

§The WSA will also check these beam conditions.  At this time, there is not a safety system installed to prevent an inadvertent wire scan.

The functional requirements for all profile-measuring beam diagnostics devices are found in the References.

The wire scanner application will allow the operator to view the wire scanner data, and to manipulate, analyze and store the data, in accordance with the requirements set forth in this document.

This software will be written in collaboration with the LAFS team at Fermilab.  Several Fermilab people will be present at CERN as needed during the writing, commissioning and operation of this application.  The interface to the wire scanner hardware is provided by the AB/BI/SW group.

It is anticipated that the Wire Scanner Application will be a Java application program used by AB/OP and others in the CERN Control Centre and elsewhere during the commissioning and the operation of the LHC at CERN.

## About this document

First, we present an overview of the application; the objectives, the roles and the responsibilities.  Then we present the formal requirements.

The priorities of the requirements are listed as either “Critical” or “Expected.”  The former means that the application absolutely must have this feature.  The latter means that the application should have it, but it will not be necessary in the initial version(s) of the application.

In the requirements, we use the abbreviation “WSA” for “Wire Scanner Application.”

§ The release of Version 0 (“alpha”) of WSA was on 9-Oct-2007.  Since then, comments and changes to these requirements have been made.  This document has been updated with these new comments and requirements, and they are denoted as is this paragraph, with the “§” symbol.  These comments are from AB/CO, AB/OP and AB/ABP.  This document will continue to be the “contract” between LAFS and CERN-AB on WSA.

# Application Overview

## Objectives

The wire scanners will be the most reliable way to obtain the transverse profiles of the LHC beams during the initial phases of the commissioning of the LHC.  As the operational experience with the other transverse profile measurement devices grows (for example, the Synchrotron Light Monitors and the Ionisation Gas Monitors), the wire scanners will be utilized to calibrate these monitors.

The wire scanner application is responsible for initiating wire scans, for collecting the data from these scans, and from other scans that may be initiated elsewhere, for making fits of the returned beam profiles, and for calculating the implied emittances based on the results of the fits and using the machine model obtained from the physics database.  Furthermore, the wire scanner application needs to archive beam profile information and to retrieve these archived beam profile data.  These archives should be machine and human readable.

It is anticipated that the wire scanner application will deal with one wire scanner (on one beam) at a time.

## Roles and Responsibilities

There are no special roles in the wire scanner application, just the user and the wire scanner device itself.  The interaction with the wire scanner device is through LSA and JAPC software components and through the FESA front end class(es) provided for that purpose.

It is understood that the responsibility for the safety of the wire scanner hardware rests with that hardware.  The Wire Scanner Application has no responsibility for the safe operation of the wire scanners.

The RBAC mechanism will ensure that the wires are manipulated only by approved and authenticated users.

# Functional Requirements

The functionality and the scope, performance and concurrency of the wire scanner application are discussed and presented in this section.

## Functionality

The functionality of the wire scanner application is listed here.  It is divided into 5 sections, based on the general capabilities required.

### Basic Considerations

The wire scanner application will be written in the normal way, utilizing the LSA and JAPC architecture.  No unique interface techniques shall be employed.  Moreover, the application should use the high-level components like the JDataViewer.

We state these ideas as these basic requirements.

| Num | Title | Description | Priority | Source |
| --- | --- | --- | --- | --- |
| 1.10 | Common | The WSA shall be written using LSA and JAPC components. | Critical | EH, 1-Apr-07 |
| 1.20 | Look & Feel | The WSA shall have the standard LSA look and feel. | Critical | EH, 1-Apr-07 |
| 1.30 | Bunch Numbering | The WSA shall number the bunches in the same way as the front end. | Critical | * |
| 1.40 | Bunch structure | The WSA shall know the distribution of the beam in the bunches. | Critical | * |
| 1.50 | RBAC | The WSA shall be protected against unauthorized use by Role-Based Access Control (RBAC). | Critical | SG, 1-Apr-07 |

Table 3-1, General requirements.

### Basic Measurement and Display Capabilities

The wire scanner application is responsible for getting the beam profile information from the wire scanner front end, and for calculating and reporting beam sizes and the beam emittances (based on the lattice values at the wires, as taken from the LSA optics package).  The way that the profiles translate into a single number that represents the size of the beam needs sufficient flexibility to satisfy the needs of the beam commissioners and the operations staff.

The beam intensity is expected to change substantially from the days of initial injections, to the pilot bunches, to the full-intensity LHC beam.  This requires that the application is able to affect the gain on the photomultipliers that readout the wire scanners.  Since the gain adjustment is protected within the hardware against self-inflicted harm, it is not anticipated that extraordinary safety measures to set the gain properly are necessary.

The adjustment of the gain on the photomultiplier tubes is necessary not only to accommodate for the different intensities but also for the different energy. Due to the adiabatic reduction of the physical emittance with energy the beam size will become smaller and therefore the peak signal will increase and for that reason the gain will have to be decreased. It might be worth having a function in LSA defining the gain as a function of energy.

The design of the LHC is for each ring to contain 2808 particle bunches in 3564 slots that are separated by 25 nanoseconds.  It is understood that the wire scanner front end returns two types of 1-dimensional profile data: transverse profile information for each bunch and for each (possibly empty) slot, and integrated profile data over all bunches.  These modes are mutually exclusive.  The wire scanner application will be able to show these basic data, both textually and graphically.  These data can be stored in a way that can be retrieved later by the wire scanner application, by an individual or by another program.

We state these ideas in these requirements.

§ We have reformatted this table into three smaller tables for better readability.

| Num | Title | Description | Priority | Source |
| --- | --- | --- | --- | --- |
| 2.05 | Data 1 | The WSA shall collect profile data from the wire scanner hardware when it initiates a scan. | Critical | GC, 26-Mar-07 |
| §2.06 | Beam Conditions | The WSA shall present to the user the current beam conditions in the LHC | Critical | JJG, 9-Oct-07 |
| §2.07 | Disallow Scan | The WSA shall inhibit the ability to scan the wires if the beam conditions are inappropriate for scanning the wires. | Critical | JJG, 9-Oct-07 |
| §2.08 | Show Beam Conditions | WSA shall display the beam conditions that were present during the scan that is being displayed. | Critical | GA, 26-Oct-07 |
| 2.10 | Data 2 | The WSA shall collect profile data from the wire scanner hardware when a scan is initiated by another agent. | Expected | GC, 26-Mar-07 |
| 2.15 | Measure Profiles | The user shall be able to initiate a measurement of the profiles from the LHC wire scanners. | Critical | GC, 26-Mar-07 |
| 2.20 | Consecutive Scans | The number of consecutive scans shall be specified to the WSA by the user, not to exceed the capabilities of the hardware. | Critical | GC, 26-Mar-07 |
| 2.25 | Adjust gains | The WSA shall adjust the gains on the wire scanner readout in order to accommodate the different intensities and the different energy levels in the LHC. | Critical | GC, 26-Mar-07 |

§ Comment on 2.06-2.08: The term “Beam Conditions” needs a precise definition.  The Front End is also looking at the present beam conditions, and will not allow a scan if the conditions are unsafe for a wire scan.  However, this protection is not 100% fool proof since the conditions presented to the Front End are not part of the safety system and, thus (by definition) are not guarnatted to be reliable.  Therefore, it has been decided to put a similar protection into the WSA to enhance the protection on the wire hardware.  It should be noted that this, too, is not a safety system, and it cannot be relied upon.  Judgment on the part of the user is warranted. Moreover, the authors encourage there to be a more reliable way to disallow a wire scan.

§ Comment on 2.07: “Inappropriate” beam conditions make it unsafe to scan the wires.  At high enough power levels, magnets will quench from a wire scan.  At this time, having the WSA and the BWSLHC front end be aware of when it is appropriate to scan the wires is the only recourse to keep the LHC from quenching.

#### Key Parameters

The key parameters returned by the wire scanner front end are understood to be:

- Beam Centroid

- Beam size/RMS

- Sigma of Gaussian fit to the profile

- Non-gaussian content of the beam

- The 2 and/or the “goodness of fit”

- Emittances

Note that these key parameters are for both the X and the Y measuring scanners.

| Num | Title | Description | Priority | Source |
| --- | --- | --- | --- | --- |
| 2.30 | Bunch Data | The WSA shall plot each of the key parameters for all possible bunches in the LHC. | Critical | GA, 28-Mar-07 |
| 2.35 | Text Output | The WSA shall provide a textual table of the key parameters for all possible bunches in the LHC | Critical | GA, 28-Mar-07 |
| 2.40 | Histogram | The WSA shall histogram (“frequency distribution”, dX/dn) each of the key parameters for all possible bunches in the LHC. | Critical | GA, 28-Mar-07 |
| §2.41 | Time Plots | The WSA shall show the evolution of the Key Parameters with time. | Critical | ML, 9-Oct-07 |
| §2.45 |  | This entry was not a requirement and has been moved up into the text of the document |  |  |
| §2.47 | Local Key Parameters | WSA shall display the locally-calculated key parameters in the same way as the ones read from the front end | Critical | GA, 25-Oct-07 |
| 2.50 | Emittances | The WSA shall calculate emittances at the wire scanners based on the fits that have been performed on the data returned directly from the front end. | Critical | GC, 26-Mar-07 |

§ Comment on 2.41:  While it is expected that the wires will fly only occasionally, it was still deemed necessary to show the evolution of the Key Parameters with time.  This is particularly important for the Synchrotron Light Monitor Application (SRMA).  Since SRMA and WSA share GUI classes, WSA has this feature, too.

#### Emittances and Bunch Selection

| Num | Title | Description | Priority | Source |
| --- | --- | --- | --- | --- |
| §2.51 | Emittances 2 | The momentum spread used in the emittance calculation shall be selectable as (a) the expected momentum spread from the machine optics, (b) the measured momentum spread, or (c) a user-defined value. | Critical | GA, 26-Oct-07 |
| 2.52 | Lattices 1 | The WSA shall know the transverse lattice parameters at the wire scanner devices and the energy at the time of the scan. This is crucial for calculating the emittances | Critical | GA, 1-Jul-07 |
| 2.53 | Lattices 2 | The WSA shall know the longitudinal parameters of the beam to provide an appropriate correction for the contribution of the dispersion and momentum spread to the beam size. This is needed to calculate the emittance. | Critical | GA, 1-Jul-07 |
| 2.55 | Show Fits | The WSA shall overlay the profile data and the fit result. | Critical | GC, 26-Mar-07 |
| 2.60 | Show Many | The WSA shall plot the profiles and fits from several profiles on one screen | Expected | GC, 26-Mar-07 |
| 2.65 | Select Bunch | The WSA shall display the bunches that the user selects when several profiles are display simultaneously. | Expected | GC, 26-Mar-07 |
| §2.66 | User Bunch Selection | The user shall be able to select a group of up to 72 bunches, | Critical | HS, 9-Oct-07 |
| §2.67 | Save Bunch Selection | The user shall be able to save his/her selection of bunches to be recalled later. | Desired | HS, 9-Oct-07 |
| 2.70 | Many on One | The WSA shall be able to overlay all the selected profiles from a single axis on a single plot. | Expected | GA, 1-Jul-07 |

Table 3-2, Data acquisition and display requirements.

§ Comment on 2.66: 72 bunches is chosen because (a) it is the number of profiles that the BWSLHC front end can report at once and (b) it is the number of bunches in an SPS batch that is injected into the LHC.

### Fits

The front end will calculate the RMS, the centroid, the gaussian fit and the non-gaussian “residuals” and return these numbers to the application.  But it will be necessary to do other fits within the application both (a) to verify the accuracy of the fits in the front end and (b) to determine if other functional forms better represent the character of the profile data.

In addition to replicating the fits that are performed by the front end, it will be necessary for the WSA to perform fits using other functional forms.  It is not clear as of this writing what these functional forms will need to be, so the WSA should be able to allow the user to specify these functional forms.  It is not important to be able to specify these functions dynamically—it should be sufficient to create these new functions in the Java code and redeploy the application.  The number of different functional forms that should be available to the user is thought to be small (less than a dozen).

These requirements represent these ideas.

| Num | Title | Description | Priority | Source |
| --- | --- | --- | --- | --- |
| 3.10 | Make Fits | The WSA shall make fits to the measured profiles identical to the fits performed in the front end. | Critical | GC, 26-Mar-07 |
| 3.20 | Various Fits | The WSA shall make fits to the measured profiles that are functionally different from the fits performed in the front end. | Expected | GC, 26-Mar-07 |
| 3.30 | Adding Fits | The WSA shall allow the user to specify new functional forms for the profile fits. | Expected | GC, 26-Mar-07 |
| §3.40 | Non-gaussian content | WSA shall calculate and display the non-gaussian content of the beam. | Critical | GA, 26-Oct-07 |

Table 3-3, Fitting requirements

### Data Archiving and Retrieval

It will be necessary to store and retrieve wire scanner data.  This forms the following simple requirements.

| Num | Title | Description | Priority | Source |
| --- | --- | --- | --- | --- |
| 4.10 | Data Storage | The WSA shall archive profile data using SDDS and the fit results on these profiles. | Critical | GA, 28-Mar-07 |
| 4.20 | History | The WSA shall access archived profile data. These profiles can be the ones stored by the WSA itself, or other profiles that are stored by another agent, but that are in an identical format as the WSA stored profile data. | Critical | GA, 28-Mar-07 |
| §4.21 | Save Beam Conditions | WSA shall save the beam conditions in the archive files | Critical | GA, 25-Oct-07 |
| §4.22 | Save Trigger | WSA shall save information about how the wire scan was triggered | Critical | MG, 25-Oct-07 |
| 4.30 | Browse | The user shall be able to browse archived profile data. | Expected | * |
| 4.40 | Archive Calculations | The WSA shall perform the same fits and data displays on archived data as it does for live data | Expected | * |
| §4.41 | Auto Save | The user of WSA shall have the option to have each new measurement archived automatically. | Expected | GA, 26-Oct-07 |
| §4.42 | Standard Location | WSA shall save archived data in the standard location | Critical | GA, 26-Oct-07 |

Table 3-4, Data archiving requirements.

## Scope, Performance and Concurrency

The wire scanner application does not need to have any interaction with the Post Mortem or the logging systems.

The wire scanner application is not expected to run all the time.

It is understood that the interaction with the logging database will be handled by another agent.  Furthermore, it is understood that this external agent will push only simple numbers into this DB, that is, no profile data will be put into the logging database.  Therefore, there is no need for the WSA to be able to read from the logging database, either.

| Num | Title | Description | Priority | Source |
| --- | --- | --- | --- | --- |
| 5.10 | Scope | The scope of the wire scanner application shall be limited to the wire scanners, the data produced by the wire scanners and the interaction with the user to manipulate these items. The wire scanner application shall not be required to interact directly with other beam hardware or application software. | Expected | * |
| 5.15 | No Data Log | The WSA shall not be required to interact with the logging database. | Expected | * |
| 5.20 | Performance | The WSA shall display the data that are produced by the front end in real time. The complexity of the display shall be limited so that this requirement is satisfied. | Expected | GA, 28-Mar-07 |
| 5.30 | Concurrency | More than one instance of the WSA shall run simultaneously. But it is acceptable for one of these instances to initiate a “lock” on the control of the wire scanner hardware. The limit on the number of concurrent instances of the WSA shall be determined by the impact on the wire scanner front end. | Expected | * |
| 5.40 | Lattice Values | The data for the lattice shall be obtained from the LSA optics package. | Critical | GA, 1-Jul-07 |

Table 3-5, Scope, performance and concurrency.

§ Comment on 5.15: While it is agreed that WSA will not push data into the logging database, it may be necessary to retrieve data from it.  This requirement may change.

# Observations and Open Questions

Since the WSA is not going to run all the time, and since the emittances from the wires are calculated only within the WSA, it should be noted that there is not a defined mechanism for the emittances to be put into the logging database.  Discussions on how to push emittances into the logging database are pending.

As for the data archiving, it is not clear how much archiving is required, nor is it clear at what frequency it may need to be stored.

# § Discussion of Version 0 of WSA

§ These comments are from G. Crockford. Author’s comments in italics.

The device selection is fine, but takes up more space than it requires, as there are only 4 devices.

Inward and outward scans are not "axis". You should just write "In Scan", "Out Scan". Normally we display the in and out scan data together. Not sure if that’s still valid for the LHC.

Is a user/event selection required for LHC? Or will it always be the same user? To be seen with Mike (Lamont) how the context selection should be done. Yes, this will need to change.

For the lattice selection, better to use a "combo box" so the other non-selected items are hidden until selected.

Maybe "optics" is a better work to use than "lattice". The optics names mean nothing. Should see with Mike to add a meaningful name as an extra column in the optics table, for display in applications.

On the left side of the application there should be some means to setup which bunches are to be measured, or a whole batch of 72 bunches, or integral of the whole beam. I don’t think ticking boxes is the best way. Maybe better use scroll bar, or simply typing in bunch numbers. This needs more discussion to clarify, maybe with Gianluigi Arduini.

I guess the instrument will be used over a wide range of intensities, from pilot beam to nominal intensity. So there should be some control of settings such as gain, PM voltage, optical filters? Also on left hand side of application.

The default dataviewer display should show the profile for the first selected bunch, batch or beam, with the calculated parameters such as emittance clearly visible. The number of profiles that can be displayed together should be limited to something reasonable (maybe 6 profiles?). The other more detailed variations of the display can be hidden behind other window tabs. The FESA data fields are really for expert debugging, and should be hidden behind an "expert" or "debug" window tab.

The "initiate scan" button should stand out more. It's not clear to me if making an asynchronous scan is useful. A button to save data (or switch data saving on) should be added near the acquire button.

§ Here are my interpretations of the observations and comments of Gianluigi Arduini during a demo session of WSA on October 25, 2007:

- Use the local fits for the KeyParameter graphs (right now, only the front end results are plotted)

- Allow a calculation of the non-gaussian content of the profile.  This could be the "Roncarolo" fit method, but there should also be a more simplistic way (for example, the user can specify manually where the gaussian content is with some sort of offset, or something--we need to specify this more precisely).

- Put the "beam conditions" into the SDDS save file

- Use the expected momentum spread from LSA for the emittance calculation, but allow the user to modify this value.  Someday, we may have a direct measurement of the momentum spread read directly by WSA.

- Provide a way to "kick" the front end if it is not responding.  For example, a "warm reset" function is available on other front ends.  If a warm reset doesn't work, could also allow a full reboot. This is not a reasonable thing to do, in the opinion of all three authors.  Resets of the front ends should be done through the standard FESA tools provided for that purpose, not in the operations applications.

- Provide an option to save (SDDS) all the measurements automatically.

- Give an option to initiate a scan at a fixed frequency (e.g., once every 15 seconds up the ramp).  The Trigger Tables are being constructed for exactly this sort of operation.  If it is required to manipulate the Trigger Tables from the WSA, that requirement will be added later.

- Create and write to a dedicated "WSA" folder for all the SDDS files.  The structure should mimic other implementations, which look something like this:

$HOME/data/2007/OP_DATA/WSA/device.name@structure.name/device.name@time.stamp.SDDS (or something like this)

§ From Massimo Giovannozzi, October 28, 2007, writing in response to the comments from GA, above:

I think all the options listed in your mail are valuable and should be added to the WSA.

I think that the information about the way the wire scanners were triggered (the timing and/or event used to trigger the measurement) should be displayed/recorded somewhere.

Finally, I confirm that the optics at the location of the wire scanner does not change as a function of energy (apart, maybe, some fancy operations such as TOTEM, for which IR4 might be used to trim the tune of the machine at top energy).

# References

* These requirements have been added by the authors, based on conversations with the experts, and/or logical considerations.

The experts quoted here in the “source” column are Guy Crockford (GC), Gianluigi Arduini (GA), Suzanne Gysin (SG) and Eugenia Hatziageli (EH).

§ Text that has been added after the Version 0 release of WSA.  The people who contributed to these additions are Hermann Schmickler (HS), Mike Lamont (ML), Gianluigi Arduni (GA), Jean-Jacques Gras (JJG), Guy Crockford (GC), Massimo Giovannozzi (MG) and Simone Gilardoni (SG).

# Endnotes

These device names are for the test devices currently (Oct, 2007) installed at CERN.  These names may change.

F. Roncarolo, “Accuracy of the Transverse Emittance Measurements of the CERN Large Hadron Collider”, PhD Thesis, Ecole Polytechnique Fédérale de Lausanne & Politechico di Milano, Italie, 2005.

LHC-B-ES-0006 (EDMS 328147), “Functional Specification/Measurement of the Transverse Beam Distribution in the LHC Rings.”

LAFS stands for “LHC At Fermilab Software”.  The MOU between CERN and Fermilab on LAFS can be found at CERN as “K1344/AB/LHC”.

# Text boxes

the
Large
Hadron
Collider
project

CERN

CH-1211 Geneva 23
Switzerland