Version 2.3

April 6, 2010

FNAL NML

Acnet 8-Character Parameter and

Device Naming Convention

Kermit Carlson

Mike Church

Dennis J. Nicklaus

Abstract

This document contains a description of the 8-character (terse) naming convention  derived from device names used at the New Muon Laboratory Super Conducting RF Test Beam Facility.

Introduction:

In order to facilitate parsing of names by programs and people and the use of templates when defining databases and to more easily share data between the EPICS-based systems and the DOOCS-based systems, a naming convention has been developed for all signals that will go into EPICS controls systems here at Fermilab.  These initially include the International Linear Collider Test Areas (ILCTA) and the High Intensity Neutrino Source (HINS) facilities.   The EPICS-based names although suitable for use as the long or verbose device name in the ACNET control system, far exceed the terse eight character names allowed by the 8-Character ACNET naming convention which will be needed for the NML-STAR area ACNET control system. The purpose of this document is to provide guidance in selecting a  recognizable short  device and ACNET Parameter Name according to a general, standardized naming convention.

The Convention:

We establish a naming convention such that ACNET short device names will have a form following one of these patterns:

- N:xxnnss 	device name xx , subsystem name/number nn,  signal ss

- N:xpppss  	device type x, position indicator ppp, signal ss.

- N:xxnsss  	device name xx, subsystem n, signal sss.

- N:dsssss  	departmental group d, signal sssss where a large chunk of the naming space is allocated to the character d and the controlling department is responsible for their own naming convention for the characters that follow the d.

This document uses lower case italic letters to indicate character sequences which are variables that change according to the device selected, and upper case letters indicating a specific concrete choice.

N:  The short 8-character ACNET name will always begin the letter “N” followed by a colon. The long or verbose device name which can be up to 45 characters in length should be easily discernable given the short or terse 8-character name. The prefix  “N:” does count as the first two of the 8 characters available for the name.

The device name xx is the name of the origin of a particular parameter referenced by its beamline location or its related facility subsystem, for instance a cryomodule, a beamline instrument cross location or device name (BPM, ion gauge, etc.) .

The subsystem nn  is the refinement of a location or sub-system specific device.   For instance,  the C2 of N:M1C2ss will indicate a parameter associated with coupler #2 in cryomodule #1.

The signal ss indicates the attribute actually being measured, such as current, voltage, pressure, status, etc

Usage:

When naming new devices, please select from the choices given below, if you cannot find an appropriate choice, please contact one of the authors of this document and suggest an addition to the choices.   Once a new addition has been agreed upon, it will be added to the selection.

The device name xx, should reference a location associated with a physical NML-SCRF  beamline device, location, station, or facility subsystem (when not located in a beamline or directly connected to a beamline device).

G – electron gun

C1 -- Capture Cavity #1

C2 -- Capture Cavity #2

M1 -- Cryomodule #1

M1C1 -- Coupler #1 on M1

M1R -- Rough Vacuum System

M2 -- Cryomodule #2

….. M6

MD -- modulator

H1 -- 3rd Harmonic Cavity #1 (accel. or defl. mode)

H2 -- 3rd Harmonic Cavity #2 (accel. or defl. mode)

…. H4

K1 -- Gun Klystron Systems

K2 -- Capture Cavity #1 Klystron Systems

K3 -- Capture Cavity #2 Klystron Systems

K4, K5, K6   -- 3rd Harmonic Cavity #1 Klystron Systems

…

K7 -- Cryomodules #1 &2 &3  -  5 or 10 MW Klystron Systems

K8 -- Klystron Systems for additional downstream cryomodules

E1 Cryo System End-Cap Devices for cryo string 1

E2 Cryo System End-Cap Devices for cryo string 2

F1 Cryo System Feed-Cap Devices for cryo string 1

F2 Cryo System Feed-Cap Devices for cryo string 2

EC1 Cryo System End-Cap Devices for C1

EC2 Cryo System End-Cap Devices for C2

FC1 Cryo System Feed-Cap Devices for C1

FC2 Cryo System Feed-Cap Devices for C2

EH1 Cryo System End-Cap Devices for H1

…….EH4

FH1 Cryo System Feed-Cap Devices for H1

……FH4

Also, these above 3 letter names just pretty much throw out the standard N:XXNNSS proposed in the early going and I don’t like them for that.

Instead of the above, I’d suggest something like this: EC, ED, FC, FD, EH, EI, EJ, EK, FH, FI, FJ, FK. (C=CC1, D=CC2, H=H1, I=H2, J=H3, K=H4)

LG – devices associated with gun laser

L1 ….. Ln – devices associated with additional lasers

N – North plant Cryo-controlled devs.

S – South plant Cryo-controlled devs

W -- Wsssss  Water System functions or parameters not directly associated with a device or other subsystem

Beamlines:  Devices in the warm beamlines will be designated by one or 2 letters for the name, and 3 digits ppp designating the beamline and the location in the beamline.  Devices in the 3 low energy beamlines will be designated by the digits ppp= “1nn”, “2nn”, or “3nn”.  Devices in the 3 high energy beamlines will be designated by the digits ppp= “5nn”, “6nn”, or “7nn”.  Location in the beamlines is determined by the closest (usually upstream) quadrupole number.  For beamline devices there will be one or two characters available to designate “signal.”

Beamline devices such as magnets, BPMs, gatevalves, etc. in the cold section between the feedcan and end-cap will be designated by the numbering ppp= “4nm”, where n is the cryomodule number and m is the location within the cryomodule

Qppp – quads (skew or normal)

Dppp – dipoles (vertical or horizontal)

Hppp – horizontal

Vppp – vertical correctors

IPppp – ion pump

IGppp -- ion gauge

CCppp – cold cathode

GVppp – gatevalve

SPppp – sublimation pump

Bppp – BPM (property common to vertical and horizontal)

BHppp – horizontal BPM

BVppp – vertical BPM

Tppp – toroid

FCppp – Faraday cup

Oppp – optical devices

AHppp – horizontal actuator

AVppp – vertical actuator

MHppp – horizontal stepping motor

MVppp – vertical stepping motor

BD1 – beam dump in beamline 1

BD2 – beam dump in beamline 2

…….BD7

IPxxnns Ion Pump at beamline location xxx

Property names SS can include combinations of these types of things:

FL		Flow					PW		Pulse width

F or FWD	Forward				W		Power

H		Horizontal Position			PS 		Pressure

HUM		Humidity				R or REF	Reflected

I		Current (amps)			S		Status

I		Intensity				T, TF, or TC	Temperature

IN		Input 					TM		Time

OUT		Output					V		Volts

P		Position				VA		Volt Amps

P		Phase					V		Vertical Position

# Footnotes

For experts: The second character can vary and different special second characters have special meaning in ACNET data requests in programs such as ACL, e.g. a vertical bar | selects the basic status of a device. But for purposes of this document, it shall be treated as always a colon.