## Slide 1: Low-Energy Linac
Tanks 2, 3, 4 and 5
(3 Slides)

## Slide 2
Station 7
Station 3
Station 5
Station 4
Station 2
BPM
NIM
BPM
NIM
BPM
NIM
BPM
NIM
172MHz
3/8” Heliax (N)
1/8” Hard
Line (SMA)
Coupler

## Slide 3
Station ?
Station 5
BPM
NIM
805 MHz
3/8” Heliax (N)
1/8” Hard
Line (SMA)
Coupler
Station 4
BPM
NIM
Station 3
BPM
NIM
Station 2
BPM
NIM
Splitter
Attenuator

## Slide 4
Station 2
Station 5
BPM
NIM
805 MHz
3/8” Heliax (N)
Coupler
Station 4
BPM
NIM
Station 3
BPM
NIM
BPM
NIM
Splitter
Attenuator
If
Necessary
Location | Minimum Power Need | Required Power
Input to BPM Modules | -10 dBm | Various
Sta. 2: Input to coupler | 10 dBm | 18-20 dBm
Sta. 3: Input to splitter | -6 dBm | -6 dBm
Sta. 3: Input to coupler | 14 dBm | 14 dBm
Sta. 4: Input to coupler | 10 dBm | 10 dBm
Sta. 5: Input to splitter | -6 dBm | 6 dBm

## Slide 5: High-Energy Linac
Seven modules and the Transition Section, all in the Diagnostics Room.
(1 Slide)

## Slide 6: Diagnostics Room
LDR-1
LDR-0
805MHz
BPM
NIM
0-1
0-2
0-3
1-2
1-1
1-3
BPM
NIM
2-1
2-2
2-3
3-2
3-1
“7-5"
BPM
NIM
3-3
3-4
4-1
4-3
4-2
4-4
BPM
NIM
5-1
5-2
5-3
6-1
5-4
6-2
BPM
NIM
6-3
6-4
7-1
7-3
7-2
7-4

## Slide 7: Booster & Linac 400 MeV Line
Two locations
(4 Slides)

## Slide 8: Booster Gallery Plan View
Debuncher Room
BPM Rack
~10m
BPM Rack
BPM Rack
~40m
805 MHz Source
Booster Gallery
Linac Gallery

## Slide 9: Booster 400 MeV Line (Far)
GR24-RR6-3
GR24-RR6-2
805 MHz
GR24-RR6-1
BPM
NIM
Q10
V-Q11
Q12
Q13
DEB
BPM
NIM
Q15
Q16
Q23
SEPU
Q17
BPM
NIM
HSEPD
PFOIL
L1D
L1U
S01
S24
BPM
NIM
Q6
Q7
Q8
Q9

## Slide 10: Booster & Linac 400 MeV (near)
LG1-RR2-3
BPM
NIM
BPM201
BPM201
BPM203
BPM204
LG1-RR4-1
BPM
NIM
Q1
Q2
LAM
Q3
Q4
Q5

## Slide 11: All 400 MeV line
Debuncher Room
805 MHz
Heliax Cable
(already exists)
New
Heliax
Cables
GR24-RR6-3
GR24-RR6-2
GR24-RR6-1
BPM
NIM
Q10
V-Q11
Q12
Q13
DEB
BPM
NIM
Q15
Q16
Q23
SEPU
Q17
BPM
NIM
HSEPD
PFOIL
L1D
L1U
S01
S24
BPM
NIM
Q6
Q7
Q8
Q9
LG1-RR2-3
BPM
NIM
BPM201
BPM201
BPM203
BPM204
LG1-RR4-1
BPM
NIM
Q1
Q2
LAM
Q3
Q4
Q5

## Slide 12: Back Panel of the BPM Module
Left
Right
Bottom
Top
A0
B0
A1
B1

## Slide 13: Obsolete Layouts

## Slide 14
GR24-RR6-1
GR24-RR6-3
BPM
NIM
805MHz
~0 dBm
BPM
NIM
BPM
NIM
BPM
NIM
6 @ -9dBm
~10 dBm
OBSOLETE: Nov 2012

## Slide 15
GR24-RR6-3
805MHz
GR24-RR6-1
BPM
NIM
BPM
NIM
BPM
NIM
BPM
NIM
OBSOLETE: Nov 2012

## Slide 16
LG1-RR-1
805MHz
BPM
NIM
OBSOLETE: Nov 2012

## Slide 17
LDR-0
805MHz
LDR-1
BPM
NIM
BPM
NIM
BPM
NIM
BPM
NIM
BPM
NIM
OBSOLETE: Nov 2012

## Slide 18
LDR-1
LDR-0
BPM
NIM
805MHz
~0 dBm
BPM
NIM
BPM
NIM
BPM
NIM
BPM
NIM
6 @ -9dBm
~10 dBm
OBSOLETE: Nov 2012

## Slide 19
LG1-RR-1 (LG1-RR2-3)
805MHz
BPM
NIM
~6 dBm
OBSOLETE: Nov 2012

## Slide 20: Power Levels
LDR-0
805MHz
LDR-1
BPM
NIM
BPM
NIM
BPM
NIM
BPM
NIM
BPM
NIM
LG1-RR4-1
Debuncher Room
805 MHz
805MHz
BPM
NIM
LG1-RR2-3
BPM
NIM
Heliax Cable
(already exists)
New
Heliax
Cables
-10 dBm
-0.5 dBm
9 dBm
9 dBm
-0.5 dBm
20 dBm
27 dBm
20 dBm
0 dBm
-4 dBm
100 feet
24 dBm
16 dBm