## Slide 1: Booster Vrf by fsy Measurements at Injection Energy (400MeV-DC Mode) (data of 20161013)
Chandra Bhat
20170308
Goal:
Vrf by the measuring the small angle synchrotron frequency, fsy of the beam in the rf bucket by imposing the Booster magnetic at 400 MeV.
or
frev = Revolution frequency of the beam
    = 0.713, Relativistic velocity
Es = 1338 MeV (kE=400MeV)
= -0.458
h = 84, Harmonic number
fsy = Measured synchrotron frequency
Synchrotron Oscillations
±600
600

## Slide 2: Vrf(fsy) from the Measurements on captured beam at 400 MeV (DC-mode) in the Booster
Vrf(kV)=0.73B:RFSUM

## Slide 3: Measurement Technique
Inject low intensity 400 MeV beam (~1E12ppBc) while Booster is being operated in DC –mode (at 400 MeV).
Capture the beam in the 38MHz main rf system just like that in normal operation with different number of RF cavities ON.
Collect the WCM data for several synchrotron period at about 5 ms and at about 10 ms into the cycle.
400 sec
Trace from 5-5.4ms
Trace from 15-15.4ms

## Slide 4: RF turn on sequence & WCM trigger times
5ms
15ms
4
20
19
18
16
10
6
8
12
14
(1A,1B)+(2A,2B)
+(3A,3B)
+(4A,4B)
+(5A,5B)
+(6A,6B)
+(7A,7B)
+(8A,8B)
+(9A,9B)
+(10A,10B)
Used Operational B:PARAT & ~1E12ppBc

## Slide 5: Typical MR of the data
WCM
WCM
Beam with almost uniform distribution
Beam with non-uniform distribution

## Slide 6: Result from FFT on Raw Data
Appears to be
Straight forward! &
Very simple Analysis!
RF Frequency
Ambiguous???
Can not get
anything out of this???
?
?
?
?
Analysis for different data sets found to be ambiguous

## Slide 7: fft on a single bunch to look for synchrotron frequency
Upper and Lower
synchrotron side bands
f
Number of Turns
0
MR and Contour plot
for bunch # 83
Concatenated WCM data for bunch # 83
Also look for small angle oscillations for Vrf(fsy) measurements.

## Slide 8: Outliers
Average of most of other bunches give <fsy> = 19.31 kHz

## Slide 9: Illustrations of fft on single bunch
B:RFSUM=519kV
B:RFSUM=586kV
B:RFSUM=680kV
B:RFSUM=714kV
B:RFSUM=164kV
B:RFSUM=298kV
B:RFSUM=374kV
B:RFSUM=444kV

## Slide 10: Vrf from fsy at 400 MeV in the Booster
Vrf(kV)=0.73B:RFSUM

## Slide 11: Error in the Measured fsy and Conclusions from the 400 MeV DC Data
600
±3.5%
fsy(Total Error)=
±3.5% (Systematic)
±9.3% (Statistical)Ave
For example, with 20 RF cavities ON
B:RFSUM=714kV
VRF(fsy) = 544 kV+76 kV (+ve error only)
(620/714)  0.87
We have lower Vrf by about 13%
Conclusions:
We find that Vrf(fsy) is at least 13%
smaller than Vrf (B:RFSUM). This might need further investigation.

## Slide 12: What Next?
B:APG
B:RFSUM
Can we measure the Vrf(fsy) @8GeV in a Stationary Bucket?

## Slide 13: Backup

## Slide 14: B:APGT Curve
Used Operational B:PARAT & 6BT Beam
(1A,1B)+(2A+2B)
B:APG