Fermilab/AD/TEV

Beams-doc-1512-v3

Dec. 27, 2004

Tevatron BPM Upgrade Test Stand Setup

Dehong Zhang

Fermilab, Computing Division, CEPA

# Abstract

This document contains a description of the test stand setup for the Tevatron Beam Position Monitor (BPM) Upgrade.  Functionalities of the various hardware pieces are briefly outlined, necessary procedures for setting up the system are listed and precautions highlighted.

# Overview

The BPM system determines how to digitize the electric signals from the pick-ups and how to present the data to the users according to events received from the Tevatron TCLK system and according to messages received from the Accelerator Controls Network (AcNet).  It uses the 53.1 MHz Tevatron RF clock as its time base and the BSYNC signals to derive the triggers.

For standalone software and/or hardware testing, the RF clock, TCLK and BSYNC signals may be omitted all together, or generated from a modified “Clocks Box”, and the front-end processor can boot from anywhere.  For integrated tests, these signals must be obtained from the “Accelerator Controls Fiber Optic Repeater”, while the front-end processor must be connected to AcNet via a dedicated switch.  Please refer to the following picture for the relevant hardware pieces.

# Fiber Optic Repeater

This device provides fanouts for the Tevatron TCLK and BSYNC signals.  Two optic fibers were run from the MAC room to FCC, one carrying the TCLK signal, the other the BSYNC signal.  The TCLK signal actually originates in the MAC room, while the BSYNC signals, including the 53.1 MHz low level RF signal and the turn marker (0xaa), are generated in service building MI60 and sent to the MAC room.

On the back of this device, there are in total 5 TCLK output spigots, 4 BSYNC spigots and 2 53.1 MHz RF spigots (opposite phases) as can be seen in the following picture.  In the service buildings, these signals should be obtained from the standard “Clocks Box”es.

Since this device only does fanouts, it can be powered up or down at any time.  For more information, please contact Greg Vogel of the Accelerator Controls Department at Ext. 4942.

# Clocks Box

In the service buildings, the standard “Clocks Box”es provide the same fanouts as the “Fiber Optic Repeater”s do.  By pressing the corresponding “Select” button, a group of spigots can be set to fanout a certain signal, and one LED will turn on to indicate the signal chosen, see the picture below.

For standalone setups which do not need to interact with the real Tevatron environment, Craig Mcclure of the Accelerator Controls Department, Ext. 3580, had made a modified version to generate the 53.1 MHz RF signal (actually 52.8 MHz), a few TCLK events and a few BSYNC events without external inputs.  This box was used before we extended all Tevatron signals to FCC and has been in the rack ever since.

# Network Switch

If AcNet access is needed, the front-end processor will have to be connected to AcNet and boot from node “fecode-bd” of the Accelerator Division.  To allow this connectivity, two optic fibers were run from the Computer Room of the Accelerator Division to FCC, and a dedicated network switch installed.

Before connecting a processor to the switch, please:

- apply for a fixed IP address for the Accelerator Division Networks at:

http://www-bdnew.fnal.gov/Netwebrequests/net-connection.asp

- contact Tim Zingelman of the Accelerator Controls Department to activate a particular port for that particular processor (MAC address);

- contact Denise Finstrom of the Accelerator Controls Department to add the node name and user “vxworks_boot” pair to some “.rhosts” file so that the processor can access the boot area on “fecode-bd”;

- contact Brian Hendricks of the Accelerator Controls Department to obtain an AcNet Trunk ID;

- contact Dinker Charak of the Computing Division, CEPA/OAA for a proper version of the VxWorks kernel.  Up to now we have been using VxWorks 5.5.  Please load the processor’s bootrom and program its flash by following the  instructions listed on (load from fndaut on the 253 subnet):

http://cepa.fnal.gov/oaa/internal/vxworks/docs/burningbootroms.shtml

Be sure to answer the questions like the following:

Node Control Memory Address =xxxxxxxx? 01F9E000

...

Server IP Address =0.0.0.0? 131.225.253.22

...

File Name =? vxboot/mv2400/v5_5a/tbpm-boot.bin

...

The boot parameters should read like the following:

boot device          : dc

unit number          : 0

processor number     : 0

host name            : fecode-bd

file name            : vxworks_boot/kernel/test/mv2400/v5_5/vxWorks-acdfgP

inet on ethernet (e) : 131.225.126.234:ffffff00

host inet (h)        : 131.225.121.145

gateway inet (g)     : 131.225.126.200

user (u)             : vxworks_boot

flags (f)            : 0x0

target name (tn)     : fccts1_0x0BD4

startup script (s)   : vxworks_boot/fe/tbpm/tbpmstartup-dev

where “fccts1” is the node name, “0x0BD4” the AcNet Trunk ID.

Due to the critical nature of the AcNet, please by all means observe the following:

- NEVER power up, or plug the optic fiber back to, the switch without permission from the Main Control Room, Ext. 3721.

This is because these actions will make the switch to broadcast to the AcNet to announce its joining.  This broadcast will cause other switches to update their route tables and possibly delay some time-critic accelerator controls activities, and consequently cause a beam loss.

In contrast, to power down, or to unplug the optic fiber, is not as disruptive.

- Only connect the allowed hardware to the designated port.  A port will be immediately shut off if an unknown hardware is connected to it, even if that particular piece of hardware is allowed for one of the other ports.

If a mistake is made and a port disabled, please contact Tim Zingelman, Ext. 3245, to re-activate.

An UPS power supply was recently installed for this network switch to minimize possible disruptions to its stable operation.

# Beam Simulator

For testing timing relations and system behavior, various beam simulator modules exist in the Accelerator Division.  Both uncoalesced and coalesced beam structures can be generated with a beam generator, amplified with a fixed gain of 10 and then manipulated with an analog multiplier to tune the overall gain or modulate the output with another signal, refer to the following picture.

The beam generator can generate a sequence of pulses spaced as uncoalesced buckets or coalesced bunches.  It uses the 53.1 MHz Tevatron RF clock as its time base, uses the turn marker in the BSYNC signal to trigger the generation sequence, and has 4 dials in the front for setting the time delay between the turn marker and the pulse sequence.  It has a processor on-board with a name “tevbpmtesttrig” and IP address “131.225.126.242”, and can be controlled from Nova.  The connectors for the Ethernet, the 53.1 MHz RF clock and the BSYNC signal inputs are in the back of the module.

Two control commands exist on Nova in “/export/home/cytan/sp”.  One is for enabling or disabling individual buckets or bunches like the folloing:

sp –a tevbpmtesttrig [-B|--Bunch <enable bunch 1<=bunch<=36>]

[-b|--bucket <enable bucket 1 <= bucket <= 1113 >]

[-D|--Disable <disable bunch 1 <= bunch <=36>]

[-d|--disable <disable bucket 1 <=bucket <=1113>]

[-r|--reset <disable all buckets/bunches>]

[-h|--help]

if -b, -B, -d, -D or -r not set, the current bunch/bucket settings will be displayed.

The other is to enable the 36 coalesced bunches all at once:

do36 –a tevbpmtesttrig

The analog multiplier is used to control the intensity of the simulated beam.  Its gain varies linearly with the input to the corresponding control spigot.  The gain will be 1 when a 10 V DC is fed to the control input.  Transverse beam motion inside the beam pipe can be simulated by feeding input “A” of a summer module with a DC, input “B” a low frequency sine wave, and connecting its outputs “A+B” and “A-B” to the analog amplier’s two control inputs.

For more information about beam simulations, please contact Jim Steimel of the Tevatron Department, Ext. 4826.

# The BPM Crate

The production Dawn VME64X crates have been used in the test area.  A test crate should at least have the following installed (see picture on the next page):

- one Motorola MVME2400 PPC processor board, with a PMC UCD daughter board;

- one Timing Generator Fanout (TGF) board;

- one Echotek ECDR-GC814-FV-A board.

Other boards like the corresponding Filter board for the Echotek board, and VMetro board etc. can be included when needed.

The PPC processor board needs 2 inputs: connection to the network switch to gain access to AcNet and to node “Nova/fecode-bd”, and TCLK signal for the PMC UCD daughter board.  An optional console terminal can be connected through the console port.  The typical boot parameters are listed in the “Network Switch” section above.

The TGF board needs 3 inputs, all in the front: the 53.1 MHz Tevatron RF clock, the TCLK signal and the BSYNC signal.  In the front, it has 8 “Clock Out”s, 8 “Sync Out”s to feed the Echotek boards, and 4 diagnostic signals – “TRG0” for start event, “TRG1” for turn marker (0xaa), “TRG2” for 53.1 MHz pulses continuous or train-of-7 phase locked with the turn marker, and “DAC” which is not yet defined.  The 53.1 MHz continuous or train-of-7 diagnostic pulses are also outputted to the VME back plane for the filter boards.

The availabilities of the input signals are shown on the front panel with LEDs.  For basic system tests which do not involve interactions with TCLK, the TCLK signal can be omitted.  For standalone testing, all the 3 inputs can be omitted.  In this case the TGF will

use its internal crystal and PLL to generate the desired 74.3466 MHz, and reverse derive the 53.1 MHz RF clock.  The only limitation is that it will not be able to generate the trained 53.1 MHz diagnostic pulses because there is no turn marker to trigger the sequence.

Each Echotek board needs a clock input, a sync input and 8 analog inputs, and has 2 LEDs to show its state.  The red “OF” LED will turn on immediately after power on, and turn off when the FPGA firmware has been properly loaded.  The green “CA” LED will remain off until proper clock signal is available and the internal PLL has successfully locked to it.

Each Echotek board has a dip switch to set the highest 4-bit of its A16 base address (bits 12 – 15 in 0x?000).  The switch is located on the back of the board, below the Tundra Universe II chip and the 64 MHz crystal and near the top end of the bottom VME connector (see picture below).  The left-most handle is for bit 12, the right-most handle is for bit 15.  The up position, or “ON”, means “1”, while the down position means “0”.  Within a crate, boards should be set from 0x8000 through 0xf000 (maximum 8 boards) from left to right in order for the front-end software to properly map the channels.

In tests where we do not need to time relate the signals, we can omit the sync input and use a software trigger.

# General Note

Please insert/remove boards carefully, be sure to properly seat the boards, and tighten the screws whenever possible.  -- Improperly seated boards do cause a wide variety of strange behaviors.

# Text boxes

Fiber Optic Repeater

Clocks Box

Beam Simulator

Crates

Beam Simulator Control

Network Switch

Console Terminal

TCLK

BSYNC

53.1 MHz

Inputs

Select

Indicators

Outputs

Ports

Optic Fiber

DO NOT POWER UP

RF Amplifier

for 53.1 Fanout

Summer

BSYNC Fanout

Analog Multiplier

10X Amplifier

1 bit

Beam Generator

8 bit

1

0

TCLK In

MDAT In

TCLK In

LEDs

53.1 In

BSYNC In

Sync Outs

Diag. Outs

Clock Outs

Ethernet

Console

Sync In

OF LED

Clock In

CA LED

Analog Ins

Analog Ins