# Main Injector BPM Offset Table Log

This document is intended as a log to record changes to the Main injector BPM offset table.

Each entry should have a Date, Name of person making the change, reason for the change, what changes were made, and the name of the spread sheet file associated with the new offset table.

2/2/2006--Marvin Olson   “Original offsets 2-1-06.xls”

This entry is to archive the MI BPM Offset values used prior to the MI BPM upgrade.

No changes made. This file was initially created by Jim Crisp in 1999 and used unchanged until 2/1/2006.

2/2/2006 – Marvin Olson  “Offsets Pre upgrade.xls”

I modified the original offset file to create a starting point for the BPM upgrade project. Off plane measurements were not requested of the new system, so columns for the H and V offsets were merged into single columns. I Removed the RFM and combiner box serial number columns because they are no longer valid. I inserted rows for the New BPMs at the new Wide aperture quad locations.

2/2/2006 – Marvin Olson	“Offsets House 44 installed.xls”

The first test setup has been installed at house 44, BPM locations 403-413. I zeroed the electrical offsets because they are no longer valid for these BPMs. The changes have been sent to the programmer.