## Offsets_Pre upgrade
Intensity [ppb] = 1.0e8 (1 + exp (N/34)) / (cable xmsn)
Horizontal Pos [mm] = Pos + Detector - Survey - Electrical + Orbit = Pos+(C6)
Vertical Pos [mm] = Pos + Detector + Survey - Electrical = Pos+(C6)
DJohnson
|  |  |  | cable | Detector | Survey | Orbit | Electrical | Total
location | entry | 0=H | bpm SN | xmsn | Offset | Offset | Offset | Offset | Offset
average |  | 1=V |  | 0.49889 | 0.0094637 | -0.0847 |  | -0.031574
HP100 | 0 | 0 | 1079 | 0.68511 | -0.29211 | 0.006 | 0 | 0.13 | -0.42811
HP101 | 0 | 0
VP101 | 0 | 1 | 6 | 0.73787 | -0.618 | 0 | 0 | 1.14 | -1.758
HP102 | 1 | 0 | 7 | 0.79507 | -0.375 | 0.063 | 0 | 0.76 | -1.198
VP103 | 1 | 1 | 1156 | 0.77767 | 0.33841 | -0.113 | 0 | -0.13 | 0.35541
HP104 | 2 | 0 | 1075 | 0.71667 | 1.1574 | -0.48 | 0 | 0.3 | 1.3374
VP105 | 2 | 1 | 1037 | 0.67968 | -0.70007 | 0.476 | 0 | 0.35 | -0.57407
HP106 | 3 | 0 | 1005 | 0.6383 | 0.012118 | 0.449 | 0 | 0.38 | -0.81688
VP107 | 3 | 1 | 1050 | 0.61198 | 0.5509 | -0.226 | 0 | 0.23 | 0.094897
HP108 | 4 | 0 | 1002 | 0.57898 | -1.93 | -0.274 | 0 | 0.21 | -1.866
VP109 | 4 | 1 | 1176 | 0.53573 | 2.2729 | -0.167 | 0 | 0.23 | 1.8759
HP110 | 5 | 0 | 1113 | 0.49734 | -0.26583 | -0.472 | 0 | -0.37 | 0.57617
VP111 | 5 | 1 | 1088 | 0.45961 | 0.11933 | 0.227 | 0 | 0.23 | 0.11633
HP112 | 6 | 0 | 1201 | 0.41606 | 0.74674 | -0.144 | 0 | 0.38 | 0.51074
VP113 | 6 | 1 | 1200 | 0.39416 | 0.60958 | -0.727 | 0 | -0.13 | 0.012583
HP114 | 7 | 0 | 1182 | 0.22846 | 0.2814 | 0.175 | 0 | 0.55 | -0.4436
VP115 | 7 | 1 | 1174 | 0.24229 | -0.70352 | -0.13 | 0 | 1.936 | -2.7695
HP116 | 8 | 0 | 1181 | 0.26085 | -0.5587 | -0.423 | 0 | -1.955 | 1.8193
VP117 | 8 | 1 | 1203 | 0.28288 | -0.85753 | -0.163 | 0 | -1.7 | 0.67947
HP118 | 9 | 0 | 1175 | 0.30573 | 0.62653 | -0.49 | 0 | -0.2 | 1.3165
VP119 | 9 | 1 | 1091 | 0.32907 | -0.70285 | -1.01 | 0 | 1.2 | -2.9129
HP120 | 10 | 0 | 1205 | 0.35422 | -1.0202 | 0.29 | 0 | -0.95 | -0.36022
VP121 | 10 | 1 | 1157 | 0.38658 | 2.03 | 0.709 | 0 | 0.23 | 2.509
HP122 | 11 | 0 | 1202 | 0.41551 | -0.85791 | -0.443 | 0 | 0.71 | -1.1249
VP123 | 11 | 1 | 1190 | 0.43849 | -0.65767 | -0.049 | 0 | -0.25 | -0.45667
HP124 | 12 | 0 | 1193 | 0.47374 | -1.5335 | 0.159 | 0 | -0.54 | -1.1525
VP125 | 12 | 1 | 1199 | 0.51047 | 0.60784 | 0.214 | 0 | -0.13 | 0.95184
HP126 | 13 | 0 | 1130 | 0.55316 | 0.98135 | 0.181 | 0 | 0.21 | 0.59035
VP127 | 13 | 1 | 1183 | 0.59661 | -0.68112 | -0.321 | 0 | 0.23 | -1.2321
HP128 | 14 | 0 | 1188 | 0.64569 | 0.30555 | -0.047 | 0 | 0.05 | 0.30255
VP129 | 14 | 1 | 1191 | 0.70256 | -1.0068 | 0.425 | 0 | 0.48 | -1.0618
HP130 | 15 | 0 | 1196 | 0.75573 | -1.7058 | 0.358 | 0 | 0.38 | -2.4438
VP201 | 15 | 1 | 1189 | 0.80757 | 0.31469 | -0.519 | 0 | 0.35 | -0.55431
HP202 | 16 | 0 | 1098 | 0.75459 | 0.64367 | -0.285 | 0 | 0.05 | 0.87867
VP203 | 16 | 1 | 1185 | 0.69861 | -0.37044 | 0.141 | 0 | -0.01 | -0.21944
HP204 | 17 | 0 | 1186 | 0.64726 | 0.19984 | -0.341 | 0 | 0.8 | -0.25916
VP205 | 17 | 1 | 1155 | 0.60279 | -1.3346 | 0.352 | 0 | 0.11 | -1.0926
HP206 | 18 | 0 | 1184 | 0.55786 | 1.2379 | -0.092 | 0 | 0.05 | 1.2799
VP207 | 18 | 1 | 1195 | 0.51766 | 1.7217 | 0.25 | 0 | -0.25 | 2.2217
HP208 | 19 | 0 | 1187 | 0.4675 | 0.015827 | -0.066 | 0 | -0.12 | 0.20183
VP209 | 19 | 1 | 1094 | 0.43455 | -0.89812 | 0.059 | 0 | 0.72 | -1.5591
HP210 | 20 | 0 | 1248 | 0.40119 | 0.66776 | -0.56 | 0 | -0.54 | 1.7678
VP211 | 20 | 1 | 1118 | 0.37181 | -2.0854 | -0.019 | 0 | 0.48 | -2.5844
HP212 | 21 | 0 | 1169 | 0.34381 | 0.17016 | -0.758 | 0 | -0.45 | 1.3782
VP213 | 21 | 1 | 1168 | 0.32844 | 0.64647 | 0.442 | 0 | -0.25 | 1.3385
HP214 | 22 | 0 | 1116 | 0.30332 | 0.10073 | 0.053 | 0 | -0.29 | 0.33773
VP215 | 22 | 1 | 1095 | 0.27389 | -0.17618 | -0.235 | 0 | -0.25 | -0.16118
HP216 | 23 | 0 | 1039 | 0.25271 | 0.12217 | -0.201 | 0 | -1.04 | 1.3632
VP217 | 23 | 1 | 1056 | 0.23779 | 0.90581 | 0.2 | 0 | -0.73 | 1.8358
HP218 | 24 | 0 | 1044 | 0.22479 | -5.6622 | -0.785 | 0 | 0.38 | -5.2572
VP219 | 24 | 1 | 1033 | 0.2118 | -0.41056 | -0.525 | 0 | -0.97 | 0.034438
HP220 | 25 | 0 | 1074 | 0.26654 | -0.88285 | 0.184 | 0 | -0.04 | -1.0269
VP221 | 25 | 1 | 1230 | 0.28767 | 1.3213 | 0.372 | 0 | -0.73 | 2.4233
HP222 | 26 | 0 | 1215 | 0.3098 | -0.076748 | -0.714 | 0 | -0.79 | 1.4273
VP222 | 26 | 1
VP223 | 26 | 1 | 1078 | 0.33477 | -0.33332 | 0.364 | 0 | -0.95 | 0.98068
HP224 | 27 | 0 | 1105 | 0.35282 | 0.32163 | -0.262 | 0 | -1.58 | 2.1636
VP225 | 27 | 1 | 1049 | 0.37414 | -0.33539 | 0.355 | 0 | 0.21 | -0.19039
HP226 | 28 | 0 | 1048 | 0.39579 | 0.5709 | -0.598 | 0 | 0.21 | 0.9589
VP227 | 28 | 1 | 1011 | 0.41941 | 0.70406 | -0.275 | 0 | -0.01 | 0.43906
HP228 | 29 | 0 | 1179 | 0.4525 | 0.29456 | 0.468 | 0 | 0.88 | -1.0534
VP229 | 29 | 1 | 1059 | 0.48822 | 1.8352 | 0.304 | 0 | 0.11 | 2.0292
HP230 | 30 | 0 | 1021 | 0.51553 | -0.46796 | 0.139 | 0 | 0.21 | -0.81696
VP231 | 30 | 1 | 1026 | 0.54376 | 1.5678 | -0.306 | 0 | -0.37 | 1.6318
HP232 | 31 | 0 | 1031 | 0.57744 | 0.66527 | -0.088 | 0 | -0.62 | 1.3733
VP301 | 31 | 1 | 1070 | 0.60857 | 2.5341 | 0.466 | 0 | -0.25 | 3.2501
HP302 | 32 | 0 | 1161 | 0.65748 | 2.4639 | 0.189 | 0 | 0.05 | 2.2249
VP303 | 32 | 1 | 1152 | 0.70754 | -0.046841 | 0.519 | 0 | 0.6 | -0.12784
HP304 | 33 | 0 | 1171 | 0.76287 | 1.2059 | -0.747 | 0 | 0.05 | 1.9029
VP305 | 33 | 1 | 1154 | 0.81991 | 2.2558 | -0.338 | 0 | -0.37 | 2.2878
HP306 | 34 | 0 | 1249 | 0.76207 | -0.25247 | 0.341 | 0 | -0.29 | -0.30347
VP307 | 34 | 1 | 1167 | 0.7056 | -1.4679 | -0.339 | 0 | -0.01 | -1.7969
HP308 | 35 | 0 | 1145 | 0.65509 | 0.43842 | 0.454 | 0 | 0.21 | -0.22558
VP309 | 35 | 1 | 1086 | 0.60797 | 0.27483 | 0.381 | 0 | 0.48 | 0.17583
HP310 | 36 | 0 | 1067 | 0.56969 | -0.34558 | -0.344 | 0 | -0.45 | 0.44842
VP311 | 36 | 1 | 1042 | 0.5369 | -0.44777 | 0.208 | 0 | -0.73 | 0.49023
HP312 | 37 | 0 | 1035 | 0.5126 | -0.58701 | -0.47 | 0 | 0.05 | -0.16701
VP313 | 37 | 1 | 1003 | 0.48577 | -0.22139 | -0.472 | 0 | 1.45 | -2.1434
HP314 | 38 | 0 | 1097 | 0.44672 | 0.059613 | -0.674 | 0 | -0.2 | 0.93361
VP315 | 38 | 1 | 1038 | 0.41323 | 0.087999 | 0.127 | 0 | -0.25 | 0.465
HP316 | 39 | 0 | 1066 | 0.39434 | -0.43561 | -0.187 | 0 | 0.13 | -0.37861
VP317 | 39 | 1 | 1065 | 0.373 | -0.4481 | 0.033 | 0 | 0.11 | -0.5251
HP318 | 40 | 0 | 1047 | 0.35145 | 0.24284 | -0.082 | 0 | -0.37 | 0.69484
VP319 | 40 | 1 | 1072 | 0.33266 | -0.46737 | -0.197 | 0 | -0.25 | -0.41437
HP320 | 41 | 0 | 1232 | 0.30939 | -0.70673 | -0.128 | 0 | -0.54 | -0.038729
HP321 | 41 | 0
VP321 | 41 | 1 | 1231 | 0.28715 | 0.1957 | 0.133 | 0 | -0.61 | 0.9387
HP322 | 42 | 0 | 1087 | 0.26585 | -0.29043 | 0.48 | 0 | -0.29 | -0.48043
VP323 | 42 | 1 | 1025 | 0.25018 | -0.091108 | 0.133 | 0 | -0.37 | 0.41189
HP324 | 43 | 0 | 1023 | 0.16615 | -0.068695 | -0.042 | 0 | -0.04 | 0.013305
VP325 | 43 | 1 | 1054 | 0.17716 | 0.21866 | -0.042 | 0 | 0.6 | -0.42334
HP326 | 44 | 0 | 1020 | 0.18812 | 0.092145 | -0.334 | 0 | -0.95 | 1.3761
VP327 | 44 | 1 | 1122 | 0.20186 | 0.36392 | 0.17 | 0 | 0.23 | 0.30392
HP328 | 45 | 0 | 1141 | 0.21968 | 0.61101 | -0.443 | 0 | 0.46 | 0.59401
VP329 | 45 | 1 | 1027 | 0.23776 | -1.2409 | 0.181 | 0 | -0.25 | -0.80993
HP330 | 46 | 0 | 1102 | 0.25621 | 0.51398 | -0.949 | 0 | -0.62 | 2.083
VP331 | 46 | 1 | 1123 | 0.28583 | 0.068935 | 0.202 | 0 | 0.84 | -0.56907
HP332 | 47 | 0 | 1082 | 0.29839 | -0.16027 | 0.13 | 0 | -0.54 | 0.24973
VP333 | 47 | 1 | 1133 | 0.33323 | -1.008 | 0.599 | 0 | 0.48 | -0.88903
HP334 | 48 | 0 | 1131 | 0.35145 | -0.24901 | -0.163 | 0 | -0.37 | 0.28399
VP335 | 48 | 1 | 1136 | 0.37654 | 0.32478 | 0.981 | 0 | 0.11 | 1.1958
HP336 | 49 | 0 | 1134 | 0.41251 | -0.70348 | -0.034 | 0 | -0.45 | -0.21948
VP337 | 49 | 1 | 1132 | 0.44342 | 0.98184 | 0.212 | 0 | -0.13 | 1.3238
HP338 | 50 | 0 | 1106 | 0.48037 | 0.58764 | -0.269 | 0 | 0.13 | 0.72664
VP339 | 50 | 1 | 1068 | 0.50921 | -0.37926 | 0.091 | 0 | -0.01 | -0.27826
HP340 | 51 | 0 | 1036 | 0.54882 | -0.12529 | -0.068 | -0.618 | -0.2 | -0.47529
VP341 | 51 | 1 | 1058 | 0.58067 | -0.62381 | 0.002 | 0 | -0.01 | -0.61181
HP400 | 52 | 0 | 1028 | 0.61175 | 0.040404 | -0.092 | -1.765 | 0.46 | -2.0926
VP401 | 52 | 1 | 1170 | 0.65978 | -1.3276 | -0.111 | 0 | 0.11 | -1.5486
HP402 | 53 | 0 | 14 | 0.70979 | -0.894 | -0.396 | 0.46 | -0.37 | 0.332
VP402 | 53 | 1
VP403 | 53 | 1 | 1163 | 0.76976 | 0.94509 | -0.273 | 0 | 0 | 0.67209
HP404 | 54 | 0 | 1077 | 0.82286 | -0.2961 | -0.48 | -1.615 | 0 | -1.4311
VP405 | 54 | 1 | 1016 | 0.7801 | 0.53678 | 0.07 | 0 | 0 | 0.60678
HP406 | 55 | 0 | 1013 | 0.73645 | 0.66465 | 0.2 | 1.254 | 0 | 1.7186
VP407 | 55 | 1 | 1057 | 0.69521 | -0.97549 | 0.215 | 0 | 0 | -0.76049
HP408 | 56 | 0 | 1006 | 0.65507 | 0.26834 | -2.72 | 0 | 0 | 2.9883
VP409 | 56 | 1 | 1173 | 0.60421 | 1.0148 | -0.05 | 0 | 0 | 0.9648
HP410 | 57 | 0 | 1206 | 0.56301 | 0.47644 | -0.425 | 0 | 0 | 0.90144
VP411 | 57 | 1 | 1115 | 0.52957 | -0.45769 | 0.387 | 0 | 0 | -0.070694
HP412 | 58 | 0 | 1178 | 0.48532 | -0.25152 | -0.863 | 0 | 0 | 0.61148
VP413 | 58 | 1 | 1177 | 0.44968 | -0.49654 | -0.165 | 0 | 0 | -0.66154
HP414 | 59 | 0 | 1204 | 0.22895 | 0.8779 | -0.016 | 0 | -1.7 | 2.5939
VP415 | 59 | 1 | 1197 | 0.24601 | 0.67873 | -0.047 | 0 | -0.25 | 0.88173
HP416 | 60 | 0 | 1207 | 0.26561 | 0.62142 | 0.209 | 0 | -3.92 | 4.3324
VP417 | 60 | 1 | 1194 | 0.29013 | 1.7771 | -0.405 | 0 | -0.25 | 1.6221
HP418 | 61 | 0 | 1180 | 0.31121 | 0.70053 | -0.957 | 0 | -0.37 | 2.0275
VP419 | 61 | 1 | 1084 | 0.33348 | 0.49624 | -0.266 | 0 | -0.25 | 0.48024
HP420 | 62 | 0 | 1096 | 0.35954 | 0.094508 | 0.179 | 0 | -0.79 | 0.70551
VP421 | 62 | 1 | 1093 | 0.38795 | -1.5676 | -0.056 | 0 | 0.72 | -2.3436
HP422 | 63 | 0 | 1083 | 0.41906 | 0.48699 | -0.487 | 0 | -0.2 | 1.174
VP423 | 63 | 1 | 1147 | 0.45249 | 0.18672 | -0.161 | 0 | 0.23 | -0.20428
HP424 | 64 | 0 | 1125 | 0.48948 | -0.15548 | -0.073 | 0 | -0.37 | 0.28752
VP425 | 64 | 1 | 1151 | 0.52542 | 1.6736 | 0.537 | 0 | -0.01 | 2.2206
HP426 | 65 | 0 | 1085 | 0.56722 | 0.21889 | -0.896 | 0 | 0.21 | 0.90489
VP427 | 65 | 1 | 1158 | 0.61304 | -1.0402 | 0.339 | 0 | 0.72 | -1.4212
HP428 | 66 | 0 | 1148 | 0.65993 | 0.12625 | 0.341 | 0 | -0.12 | -0.094751
VP429 | 66 | 1 | 1100 | 0.71053 | -0.66019 | -0.074 | 0 | 1.08 | -1.8142
HP430 | 67 | 0 | 1150 | 0.76591 | -0.72481 | 0.06 | 0 | 0.13 | -0.91481
VP501 | 67 | 1 | 1172 | 0.80888 | 0.47361 | 0.203 | 0 | 0.11 | 0.56661
HP502 | 68 | 0 | 1225 | 0.75889 | 1.8619 | -0.695 | 0 | -0.2 | 2.7569
VP503 | 68 | 1 | 1139 | 0.70306 | -0.37816 | 0.892 | 0 | 0.11 | 0.40384
HP504 | 69 | 0 | 1250 | 0.6552 | -0.078643 | -0.253 | 0 | 0.46 | -0.28564
VP505 | 69 | 1 | 1162 | 0.60654 | -0.56127 | -0.019 | 0 | 0.11 | -0.69027
HP506 | 70 | 0 | 1127 | 0.56286 | 1.8546 | -0.114 | 0 | 0.21 | 1.7586
VP507 | 70 | 1 | 1128 | 0.52203 | 0.63035 | -0.611 | 0 | 0.23 | -0.21065
HP508 | 71 | 0 | 1121 | 0.48624 | 0.86636 | -0.277 | 0 | 0.21 | 0.93336
VP509 | 71 | 1 | 1117 | 0.451 | -0.9371 | -0.769 | 0 | -0.01 | -1.6961
HP510 | 72 | 0 | 1120 | 0.41774 | 0.29668 | 0.159 | 0 | 0.3 | -0.16232
VP511 | 72 | 1 | 1111 | 0.38784 | 1.0791 | -0.348 | 0 | 1.32 | -0.58891
HP512 | 73 | 0 | 1112 | 0.35926 | -1.2973 | -0.119 | 0 | -1.29 | 0.11171
VP513 | 73 | 1 | 1092 | 0.33896 | -0.1237 | -0.456 | 0 | -0.37 | -0.2097
HP514 | 74 | 0 | 1089 | 0.30964 | -0.16991 | 0.264 | 0 | -0.7 | 0.26609
VP515 | 74 | 1 | 1110 | 0.2866 | -0.51408 | -0.346 | 0 | -0.37 | -0.49008
HP516 | 75 | 0 | 1071 | 0.26643 | -0.21065 | -0.053 | 0 | 0.8 | -0.95765
VP517 | 75 | 1 | 1032 | 0.25136 | -1.7041 | 0.146 | 0 | -1.7 | 0.14191
HP518 | 76 | 0 | 1063 | 0.2378 | 0.25279 | 0.051 | -0.951 | 0.38 | -1.1292
VP519 | 76 | 1 | 1043 | 0.22119 | -0.6978 | -0.518 | 0 | -2.55 | 1.3342
HP520 | 77 | 0 | 1103 | 0.36771 | -0.13083 | -0.48 | -1.927 | -0.37 | -1.2078
VP521 | 77 | 1 | 1159 | 0.3984 | 0.15699 | -0.163 | 0 | -0.49 | 0.48399
HP522 | 78 | 0 | 5 | 0.42835 | 0.0702 | 0 | 0.288 | 0.19 | 0.1682
VP522 | 78 | 1
VP523 | 78 | 1 | 1061 | 0.46086 | 0.24336 | 0 | 0 | -0.01 | 0.25336
HP524 | 79 | 0 | 1012 | 0.48679 | -0.61839 | -0.558 | -1.689 | 0.46 | -2.2094
VP525 | 79 | 1 | 1015 | 0.51347 | -0.80329 | -0.681 | 0 | -0.01 | -1.4743
HP526 | 80 | 0 | 1153 | 0.54581 | 0.56669 | -0.363 | 0.822 | -0.12 | 1.8717
VP527 | 80 | 1 | 1019 | 0.57974 | 0.49009 | 0.078 | 0 | 0.6 | -0.031906
HP528 | 81 | 0 | 1251 | 0.62594 | 1.82 | -0.38 | 0 | 0.05 | 2.15
VP529 | 81 | 1 | 1051 | 0.67593 | -0.53323 | -0.057 | 0 | -0.61 | 0.019771
HP530 | 82 | 0 | 1160 | 0.71573 | 0.94592 | -0.301 | 0 | -0.12 | 1.3669
VP531 | 82 | 1 | 1048 | 0.75694 | -0.6353 | 0.486 | 0 | 0.11 | -0.2593
HP532 | 83 | 0 | 1009 | 0.79967 | 0.20684 | -0.104 | 0 | -0.04 | 0.35084
VP601 | 83 | 1 | 1102 | 0.84273 | -0.43136 | 0.317 | 0 | 0.48 | -0.59436
HP602 | 84 | 0 | 1166 | 0.89227 | 0.42873 | 0 | 0 | -0.12 | 0.54873
VP603 | 84 | 1 | 1218 | 0.82697 | 2.1811 | 0 | 0 | 0.11 | 2.0711
HP604 | 85 | 0 | 1165 | 0.76767 | 0.6771 | 0 | 0 | -0.2 | 0.8771
VP605 | 85 | 1 | 1224 | 0.71299 | -0.83002 | 0 | 0 | -0.13 | -0.70002
HP606 | 86 | 0 | 1229 | 0.66129 | -1.333 | 0 | 0 | 0.21 | -1.543
VP607 | 86 | 1 | 1227 | 0.81154 | -1.5071 | 0 | 0 | 0.11 | -1.6171
HP608 | 87 | 0 | 4 | 0.86808 | -1.234 | 0 | 0 | 0.76 | -1.994
VP608 | 87 | 1
VP609 | 87 | 1 | 1080 | 0.79447 | 0.032837 | 0.511 | 0 | 0.35 | 0.19384
HP610 | 88 | 0 | 1045 | 0.7538 | -0.68158 | -0.105 | 0 | 0.13 | -0.70658
VP611 | 88 | 1 | 1053 | 0.71556 | 0.78812 | 0.378 | 0 | 0.23 | 0.93612
HP612 | 89 | 0 | 1149 | 0.67617 | -0.44306 | 0.854 | 0 | 0.13 | -1.4271
VP613 | 89 | 1 | 1014 | 0.63607 | -2.2923 | -0.607 | 0 | 0.23 | -3.1293
HP614 | 90 | 0 | 1164 | 0.59325 | 0.41416 | -0.374 | 0 | 0.13 | 0.65816
VP615 | 90 | 1 | 1029 | 0.54725 | 0.16205 | 0.248 | 0 | -0.37 | 0.78005
HP616 | 91 | 0 | 1090 | 0.51528 | 0.79371 | 0.424 | 0 | -0.37 | 0.73971
VP617 | 91 | 1 | 1008 | 0.48651 | 0.63949 | -0.575 | 0 | 0.35 | -0.28551
HP618 | 92 | 0 | 1062 | 0.46206 | -1.7229 | 0.207 | -2.592 | 0.21 | -4.7319
VP619 | 92 | 1 | 1073 | 0.43657 | 0.56644 | 0 | 0 | 0.11 | 0.45644
HP620 | 93 | 0 | 20 | 0.40525 | -0.177 | 0 | 0.317 | 3.23 | -3.09
VP620 | 93 | 1
VP621 | 93 | 1 | 1228 | 0.37442 | 0.47602 | 0.416 | 0 | 0.23 | 0.66202
HP622 | 94 | 0 | 1052 | 0.34916 | 0.30315 | -0.283 | -2.618 | -0.12 | -1.9119
VP623 | 94 | 1 | 1010 | 0.32914 | -0.79417 | -0.459 | 0 | 0.6 | -1.8532
HP624 | 95 | 0 | 1030 | 0.19502 | -1.0626 | -0.176 | 0 | -2.21 | 1.3234
VP625 | 95 | 1 | 1001 | 0.20308 | -1.4449 | -0.035 | 0 | 0.23 | -1.7099
HP626 | 96 | 0 | 1004 | 0.2195 | 0.13727 | -0.406 | 0 | 0.96 | -0.41673
VP627 | 96 | 1 | 1120 | 0.23144 | 0.20525 | 0.362 | 0 | -0.37 | 0.93725
HP628 | 97 | 0 | 1138 | 0.2589 | -0.78742 | -0.294 | 0 | -0.87 | 0.37658
VP629 | 97 | 1 | 1119 | 0.27757 | -0.042899 | -0.552 | 0 | -1.58 | 0.9851
HP630 | 98 | 0 | 1114 | 0.30026 | 0.16836 | -0.163 | 0 | 0.3 | 0.031359
VP631 | 98 | 1 | 1099 | 0.32422 | 0.27324 | -0.597 | 0 | 0.23 | -0.55376
HP632 | 99 | 0 | 1124 | 0.33894 | -0.58726 | -0.412 | 0 | 0.05 | -0.22526
VP633 | 99 | 1 | 1140 | 0.37367 | 0.22247 | -0.126 | 0 | -0.01 | 0.10647
HP634 | 100 | 0 | 1126 | 0.40157 | -0.45482 | -0.212 | 0 | -0.29 | 0.047183
VP635 | 100 | 1 | 1101 | 0.43787 | 0.32169 | 0.089 | 0 | 0.23 | 0.18069
HP636 | 101 | 0 | 1142 | 0.47252 | -0.19671 | -0.272 | 0 | 0.38 | -0.30471
VP637 | 101 | 1 | 1137 | 0.50862 | -0.48885 | -0.168 | 0 | 0.84 | -1.4969
HP638 | 102 | 0 | 1060 | 0.54832 | 0.030876 | -0.745 | 0 | 0.3 | 0.47588
VP639 | 102 | 1 | 1024 | 0.57894 | 0.42297 | 0.482 | 0 | 0.48 | 0.42497
HP640 | 103 | 0 | 1017 | 0.60867 | 0.4042 | 0.2 | 0 | -0.2 | 0.4042
VP641 | 103 | 1 | 1208 | 0.64517 | -0.50168 | -0.271 | 0 | -0.13 | -0.64268