## Cable Data Base entry
Cable Type | ORIGIN (13 Characters) | DESTINATION (10 Characters) | FUNCTION (Acnet Device Name) | SVC BLDG | MACH | SYS | LENGTH (Feet) | REQSTR | PENE- TRATION | COMMENT | Rack | In Utillity Cable Run | In Tunnel | Ground level | In Service Building | Side | NuMI Ref # | Yes No | Ground | Level | Direction | Cable Type | Svc BLDG | Mach | SYS
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S8-VD | MagPwr | BGE | B | D | 280 | DRENNAN | BP11-P-9 | GREEN | [7 empty] | Yes | Above | Above Cielling | North | Column1 | Lab B | A | A
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S8-HD | MagPwr | BGE | B | D | 280 | DRENNAN | BP11-P-9 | WHITE | [7 empty] | NO | Below | Bellow Floor | South | Telephone, 25 Pair | NML (New Muon Lab) | A | B
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S8-NS | MagPwr | BGE | B | D | 280 | DRENNAN | BP11-P-9 | RED | [9 empty] | Floor Lvl | East | Telephone, 50 Pair | Tunnel | B | C
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S8-SS | MagPwr | BGE | B | D | 280 | DRENNAN | BP11-P-9 | BLACK | [9 empty] | Mid Lvl | West | Telephone, 100 Pair | BGE | C | D
4C #8 + #12 SHIELD | G11-RR7-3 | S8-NQ | MagPwr | BGE | B | D | 280 | DRENNAN | BP11-P-9 | BLACK | [9 empty] | Cielling Lvl | NW | Telephone, 400 Pair | BGW | D | E
2C #12 TC | G11-RR7-3 | S8-SQ | MagPwr | BGE | B | D | 280 | DRENNAN | BP11-P-9 | BLACK | [10 empty] | SW | 2C RG174 | BTW | D | F
2 PAIR T.S. #22 | G11-RR7-3 | S8-KLIXON | MagTemp | BGE | B | D | 280 | DRENNAN | BP11-P-9 | GREY | [10 empty] | NE | RG174U GREEN |  | E | G
2 PAIR T.S. #22 | G11-RR7-3 | S8-RTD | MagTemp | BGE | B | D | 280 | DRENNAN | BP11-P-9 | GREY | [10 empty] | SE | 1/4" SEMIRIGID |  | I | H
[22 empty] | 33C RG174 |  | M | J
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S9-VD | MagPwr | BGE | B | D | 215 | DRENNAN | BP11-P-9 | GREEN | [11 empty] | 23C RG174 RED |  | N | K
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S9-HD | MagPwr | BGE | B | D | 215 | DRENNAN | BP11-P-9 | WHITE | [11 empty] | 17C RG58 |  | P | L
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S9-NS | MagPwr | BGE | B | D | 215 | DRENNAN | BP11-P-9 | RED | [11 empty] | 26C RG174 |  | P | M
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S9-SS | MagPwr | BGE | B | D | 215 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | RG213 BLACK |  | R | O
4C #8 + #12 SHIELD | G11-RR7-3 | S9-NQ | MagPwr | BGE | B | D | 215 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | RG58 GREEN |  | S | P
2C #12 TC | G11-RR7-3 | S9-SQ | MagPwr | BGE | B | D | 215 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | RG58 RED |  | T | Q
2 PAIR T.S. #22 | G11-RR7-3 | S9-KLIXON | MagTemp | BGE | B | D | 215 | DRENNAN | BP11-P-9 | GREY | [11 empty] | RG8U FOAM 8 |  | V | R
2 PAIR T.S. #22 | G11-RR7-3 | S9-RTD | MagTemp | BGE | B | D | 215 | DRENNAN | BP11-P-9 | GREY | [11 empty] | 18C RG174 |  | W | S
[22 empty] | RG108A/U |  | Y | U
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S10-VD | MagPwr | BGE | B | D | 150 | DRENNAN | BP11-P-9 | GREEN | [11 empty] | RG213 GREEN |  | Z | V
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S10-HD | MagPwr | BGE | B | D | 150 | DRENNAN | BP11-P-9 | WHITE | [11 empty] | RG59/U BLACK |  |  | W
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S10-NS | MagPwr | BGE | B | D | 150 | DRENNAN | BP11-P-9 | RED | [11 empty] | RG213 RED |  |  | X
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S10-SS | MagPwr | BGE | B | D | 150 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | 3/8" HELIAX
4C #8 + #12 SHIELD | G11-RR7-3 | S10-NQ | MagPwr | BGE | B | D | 150 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | 1/2" HELIAX
2C #12 TC | G11-RR7-3 | S10-SQ | MagPwr | BGE | B | D | 150 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | 12C RG58
2 PAIR T.S. #22 | G11-RR7-3 | S10-KLIXON | MagTemp | BGE | B | D | 150 | DRENNAN | BP11-P-9 | GREY | [11 empty] | 50C RG174
2 PAIR T.S. #22 | G11-RR7-3 | S10-RTD | MagTemp | BGE | B | D | 150 | DRENNAN | BP11-P-9 | GREY | [11 empty] | DS 2134 - Septa HV
1/2" FOAM H.L.
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S11-VD | MagPwr | BGE | B | D | 90 | DRENNAN | BP11-P-9 | GREEN | [11 empty] | CAC 6
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S11-HD | MagPwr | BGE | B | D | 90 | DRENNAN | BP11-P-9 | WHITE | [11 empty] | RG58A/U FOAM
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S11-NS | MagPwr | BGE | B | D | 90 | DRENNAN | BP11-P-9 | RED | [11 empty] | Belden, YR - 20621
2C #8 + 1C #12 SHIELD | G11-RR7-4 | S11-SS | MagPwr | BGE | B | D | 90 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | RG220A/U
4C #8 + #12 SHIELD | G11-RR7-3 | S11-NQ | MagPwr | BGE | B | D | 90 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | 20C RG58A/U
2C #12 TC | G11-RR7-3 | S11-SQ | MagPwr | BGE | B | D | 90 | DRENNAN | BP11-P-9 | BLACK | [11 empty] | 1/4" FOAM HELIAX
2 PAIR T.S. #22 | G11-RR7-3 | S11-KLIXON | MagTemp | BGE | B | D | 90 | DRENNAN | BP11-P-9 | GREY | [11 empty] | 7/8" FOAM HELIAX
2 PAIR T.S. #22 | G11-RR7-3 | S11-RTD | MagTemp | BGE | B | D | 90 | DRENNAN | BP11-P-9 | GREY | [11 empty] | 1 5/8" FOAM HELIAX
1 5/8" AIR RIGID
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S12-VD | MagPwr | BGE | B | D | 205 | DRENNAN | BP14-P-13 | GREEN | [11 empty] | RG11/U BLACK
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S12-HD | MagPwr | BGE | B | D | 205 | DRENNAN | BP14-P-13 | WHITE | [11 empty] | CAT 5 (Network)
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S12-NS | MagPwr | BGE | B | D | 205 | DRENNAN | BP14-P-13 | RED | [11 empty] | CAT 6 (Network)
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S12-SS | MagPwr | BGE | B | D | 205 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | Fiber Optic Singlemode, 12 Fiber
4C #8 + #12 SHIELD | G14-RR5-3 | S12-NQ | MagPwr | BGE | B | D | 205 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | Fiber Optic Singlemode, 24 Fiber
2C #12 TC | G14-RR5-3 | S12-SQ | MagPwr | BGE | B | D | 205 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | Fiber Optic Multimode, 2 Fiber
2 PAIR T.S. #22 | G14-RR5-3 | S12-KLIXON | MagTemp | BGE | B | D | 205 | DRENNAN | BP14-P-13 | GREY | [11 empty] | Fiber Optic Multimode, 12 Fiber
2 PAIR T.S. #22 | G14-RR5-3 | S12-RTD | MagTemp | BGE | B | D | 205 | DRENNAN | BP14-P-13 | GREY | [11 empty] | Fiber Optic Multimode, 24 Fiber
40C #22
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S13-VD | MagPwr | BGE | B | D | 145 | DRENNAN | BP14-P-13 | GREEN | [11 empty] | 19C #18
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S13-HD | MagPwr | BGE | B | D | 145 | DRENNAN | BP14-P-13 | WHITE | [11 empty] | 5C #18
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S13-NS | MagPwr | BGE | B | D | 145 | DRENNAN | BP14-P-13 | RED | [11 empty] | 25C #18
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S13-SS | MagPwr | BGE | B | D | 145 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 2C #22
4C #8 + #12 SHIELD | G14-RR5-3 | S13-NQ | MagPwr | BGE | B | D | 145 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 37C #24
2C #12 TC | G14-RR5-3 | S13-SQ | MagPwr | BGE | B | D | 145 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 5C #16, 1C RG174
2 PAIR T.S. #22 | G14-RR5-3 | S13-KLIXON | MagTemp | BGE | B | D | 145 | DRENNAN | BP14-P-13 | GREY | [11 empty] | 12C #18
2 PAIR T.S. #22 | G14-RR5-3 | S13-RTD | MagTemp | BGE | B | D | 145 | DRENNAN | BP14-P-13 | GREY | [11 empty] | 6C #24
8C #22
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S14-VD | MagPwr | BGE | B | D | 80 | DRENNAN | BP14-P-13 | GREEN | [11 empty] | 12C #20
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S14-HD | MagPwr | BGE | B | D | 80 | DRENNAN | BP14-P-13 | WHITE | [11 empty] | 4C #12; 1C RG174
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S14-NS | MagPwr | BGE | B | D | 80 | DRENNAN | BP14-P-13 | RED | [11 empty] | 32C #22
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S14-SS | MagPwr | BGE | B | D | 80 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 3C #20
4C #8 + #12 SHIELD | G14-RR5-3 | S14-NQ | MagPwr | BGE | B | D | 80 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 4C #20
2C #12 TC | G14-RR5-3 | S14-SQ | MagPwr | BGE | B | D | 80 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 3C #16
2 PAIR T.S. #22 | G14-RR5-3 | S14-KLIXON | MagTemp | BGE | B | D | 80 | DRENNAN | BP14-P-13 | GREY | [11 empty] | 8C #16
2 PAIR T.S. #22 | G14-RR5-3 | S14-RTD | MagTemp | BGE | B | D | 80 | DRENNAN | BP14-P-13 | GREY | [11 empty] | 16C #16
10C #22
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S15-VD | MagPwr | BGE | B | D | 140 | DRENNAN | BP14-P-13 | GREEN | [11 empty] | 6C #10
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S15-HD | MagPwr | BGE | B | D | 140 | DRENNAN | BP14-P-13 | WHITE | [11 empty] | 9C #16; 6C #20
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S15-NS | MagPwr | BGE | B | D | 140 | DRENNAN | BP14-P-13 | RED | [11 empty] | 4C #16; 1C RG174
2C #8 + 1C #12 SHIELD | G14-RR5-4 | S15-SS | MagPwr | BGE | B | D | 140 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 10C #20
4C #8 + #12 SHIELD | G14-RR5-3 | S15-NQ | MagPwr | BGE | B | D | 140 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 20C #18
2C #12 TC | G14-RR5-3 | S15-SQ | MagPwr | BGE | B | D | 140 | DRENNAN | BP14-P-13 | BLACK | [11 empty] | 37C #22
2 PAIR T.S. #22 | G14-RR5-3 | S15-KLIXON | MagTemp | BGE | B | D | 140 | DRENNAN | BP14-P-13 | GREY | [11 empty] | 48C #22
2 PAIR T.S. #22 | G14-RR5-3 | S15-RTD | MagTemp | BGE | B | D | 140 | DRENNAN | BP14-P-13 | GREY | [11 empty] | 6C #20
15C #20
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S16-VD | MagPwr | BGE | B | D | 100 | DRENNAN | BP16-P-8 | GREEN | [11 empty] | 15C #22
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S16-HD | MagPwr | BGE | B | D | 100 | DRENNAN | BP16-P-8 | WHITE | [11 empty] | 20C #22
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S16-NS | MagPwr | BGE | B | D | 100 | DRENNAN | BP16-P-8 | RED | [11 empty] | 2C #18
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S16-SS | MagPwr | BGE | B | D | 100 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 6C #16
4C #8 + #12 SHIELD | G16-RR2-3 | S16-NQ | MagPwr | BGE | B | D | 100 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 4C #18
2C #12 TC | G16-RR2-3 | S16-SQ | MagPwr | BGE | B | D | 100 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 26C #22
2 PAIR T.S. #22 | G16-RR2-3 | S16-KLIXON | MagTemp | BGE | B | D | 100 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 6C 15KV
2 PAIR T.S. #22 | G16-RR2-3 | S16-RTD | MagTemp | BGE | B | D | 100 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 14C #16(10KV); 2C #20; 6C #20 WITH SHIELD - STOCH HOME MADE
UNDECIDED
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S17-VD | MagPwr | BGE | B | D | 160 | DRENNAN | BP16-P-8 | GREEN | [11 empty] | 12 Pair T.S. #22
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S17-HD | MagPwr | BGE | B | D | 160 | DRENNAN | BP16-P-8 | WHITE | [11 empty] | 4 PAIR T.S. #16
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S17-NS | MagPwr | BGE | B | D | 160 | DRENNAN | BP16-P-8 | RED | [11 empty] | 9 PAIR T.S. #18
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S17-SS | MagPwr | BGE | B | D | 160 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 5 PAIR T.S. #24
4C #8 + #12 SHIELD | G16-RR2-3 | S17-NQ | MagPwr | BGE | B | D | 160 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 2 PAIR T.S. #22
2C #12 TC | G16-RR2-3 | S17-SQ | MagPwr | BGE | B | D | 160 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 3 PAIR T.S. #22
2 PAIR T.S. #22 | G16-RR2-3 | S17-KLIXON | MagTemp | BGE | B | D | 160 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 4 PAIR T.S. #22
2 PAIR T.S. #22 | G16-RR2-3 | S17-RTD | MagTemp | BGE | B | D | 160 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 1 PAIR T.S. #16
6 PAIR T.S. #22
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S18-VD | MagPwr | BGE | B | D | 225 | DRENNAN | BP16-P-8 | GREEN | [11 empty] | 1 PAIR T.S. #20
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S18-HD | MagPwr | BGE | B | D | 225 | DRENNAN | BP16-P-8 | WHITE | [11 empty] | 2 PAIR T.S. #18
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S18-NS | MagPwr | BGE | B | D | 225 | DRENNAN | BP16-P-8 | RED | [11 empty] | 19 PAIR T.S. #22
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S18-SS | MagPwr | BGE | B | D | 225 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 3 PAIR T.S. #16
4C #8 + #12 SHIELD | G16-RR2-3 | S18-NQ | MagPwr | BGE | B | D | 225 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 27 PAIR T.S. #22
2C #12 TC | G16-RR2-3 | S18-SQ | MagPwr | BGE | B | D | 225 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 6 PAIR T.S. #18
2 PAIR T.S. #22 | G16-RR2-3 | S18-KLIXON | MagTemp | BGE | B | D | 225 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 18 PAIR T.S. #22
2 PAIR T.S. #22 | G16-RR2-3 | S18-RTD | MagTemp | BGE | B | D | 225 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 1 PAIR T.S. #22
3 PAIR T.S. #24
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S19-VD | MagPwr | BGE | B | D | 290 | DRENNAN | BP16-P-8 | GREEN | [11 empty] | 8 PAIR T.S. #16
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S19-HD | MagPwr | BGE | B | D | 290 | DRENNAN | BP16-P-8 | WHITE | [11 empty] | 12 PAIR T.S. #20
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S19-NS | MagPwr | BGE | B | D | 290 | DRENNAN | BP16-P-8 | RED | [11 empty] | 15 PAIR T.S. #22
2C #8 + 1C #12 SHIELD | G16-RR2-4 | S19-SS | MagPwr | BGE | B | D | 290 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 9 PAIR T.S. #22
4C #8 + #12 SHIELD | G16-RR2-3 | S19-NQ | MagPwr | BGE | B | D | 290 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 1 PAIR T.S. #18
2C #12 TC | G16-RR2-3 | S19-SQ | MagPwr | BGE | B | D | 290 | DRENNAN | BP16-P-8 | BLACK | [11 empty] | 6 PAIR T.S. #20
2 PAIR T.S. #22 | G16-RR2-3 | S19-KLIXON | MagTemp | BGE | B | D | 290 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 3 PAIR T.S. #24; 1 PAIR T.S. #18
2 PAIR T.S. #22 | G16-RR2-3 | S19-RTD | MagTemp | BGE | B | D | 290 | DRENNAN | BP16-P-8 | GREY | [11 empty] | 3 PAIR T.S. #18
930 MCM
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S20-VD | MagPwr | BGW | B | D | 160 | DRENNAN | BP21-P-14 | GREEN | [11 empty] | 1/0
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S20-HD | MagPwr | BGW | B | D | 160 | DRENNAN | BP21-P-14 | WHITE | [11 empty] | 2/0
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S20-NS | MagPwr | BGW | B | D | 160 | DRENNAN | BP21-P-14 | RED | [11 empty] | 4/0
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S20-SS | MagPwr | BGW | B | D | 160 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 250 MCM
4C #8 + #12 SHIELD | G21-RR4-4 | S20-NQ | MagPwr | BGW | B | D | 160 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 350 MCM
2C #12 TC | G21-RR4-4 | S20-SQ | MagPwr | BGW | B | D | 160 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 535 MCM
2 PAIR T.S. #22 | G21-RR4-4 | S20-KLIXON | MagTemp | BGW | B | D | 160 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 750 MCM
2 PAIR T.S. #22 | G21-RR4-4 | S20-RTD | MagTemp | BGW | B | D | 160 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 3C #12 SO
500 MCM
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S21-VD | MagPwr | BGW | B | D | 95 | DRENNAN | BP21-P-14 | GREEN | [11 empty] | 646 MCM
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S21-HD | MagPwr | BGW | B | D | 95 | DRENNAN | BP21-P-14 | WHITE | [11 empty] | 4C #12 SO
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S21-NS | MagPwr | BGW | B | D | 95 | DRENNAN | BP21-P-14 | RED | [11 empty] | 5C #12 SO
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S21-SS | MagPwr | BGW | B | D | 95 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 3C #10 SO
4C #8 + #12 SHIELD | G21-RR4-4 | S21-NQ | MagPwr | BGW | B | D | 95 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 4C #10 SO
2C #12 TC | G21-RR4-4 | S21-SQ | MagPwr | BGW | B | D | 95 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 5C #18 SO
2 PAIR T.S. #22 | G21-RR4-4 | S21-KLIXON | MagTemp | BGW | B | D | 95 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 5C #22 Shielded
2 PAIR T.S. #22 | G21-RR4-4 | S21-RTD | MagTemp | BGW | B | D | 95 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 4C #16 Shielded
4C #8 SO
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S22-VD | MagPwr | BGW | B | D | 130 | DRENNAN | BP21-P-14 | GREEN
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S22-HD | MagPwr | BGW | B | D | 130 | DRENNAN | BP21-P-14 | WHITE | [11 empty] | #2
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S22-NS | MagPwr | BGW | B | D | 130 | DRENNAN | BP21-P-14 | RED | [11 empty] | #3
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S22-SS | MagPwr | BGW | B | D | 130 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | #4
4C #8 + #12 SHIELD | G21-RR4-4 | S22-NQ | MagPwr | BGW | B | D | 130 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | #6
2C #12 TC | G21-RR4-4 | S22-SQ | MagPwr | BGW | B | D | 130 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | #8
2 PAIR T.S. #22 | G21-RR4-4 | S22-KLIXON | MagTemp | BGW | B | D | 130 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 262 MCM
2 PAIR T.S. #22 | G21-RR4-4 | S22-RTD | MagTemp | BGW | B | D | 130 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 2C #10
4C #10 TC
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S23-VD | MagPwr | BGW | B | D | 195 | DRENNAN | BP21-P-14 | GREEN | [11 empty] | 2C 1/0 TC
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S23-HD | MagPwr | BGW | B | D | 195 | DRENNAN | BP21-P-14 | WHITE | [11 empty] | 2C #4
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S23-NS | MagPwr | BGW | B | D | 195 | DRENNAN | BP21-P-14 | RED | [11 empty] | 3C #10 TC
2C #8 + 1C #12 SHIELD | G21-RR4-5 | S23-SS | MagPwr | BGW | B | D | 195 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 4C #16 TC
4C #8 + #12 SHIELD | G21-RR4-4 | S23-NQ | MagPwr | BGW | B | D | 195 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 6C #18 TC
2C #12 TC | G21-RR4-4 | S23-SQ | MagPwr | BGW | B | D | 195 | DRENNAN | BP21-P-14 | BLACK | [11 empty] | 2C #10 + 1C #12 SHIELD
2 PAIR T.S. #22 | G21-RR4-4 | S23-KLIXON | MagTemp | BGW | B | D | 195 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 2C #8 + 1C #12 SHIELD
2 PAIR T.S. #22 | G21-RR4-4 | S23-RTD | MagTemp | BGW | B | D | 195 | DRENNAN | BP21-P-14 | GREY | [11 empty] | 2C #8 TC
25C RIBBON COAX
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S24-VD | MagPwr | BGW | B | D | 80 | DRENNAN | BP24-P-18 | GREEN | [11 empty] | 26C RIBBON COAX
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S24-HD | MagPwr | BGW | B | D | 80 | DRENNAN | BP24-P-18 | WHITE | [11 empty] | 50C #28 FLAT RIBBON (Rolled Round)
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S24-NS | MagPwr | BGW | B | D | 80 | DRENNAN | BP24-P-18 | RED | [11 empty] | Special (to be supplied by FNAL)
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S24-SS | MagPwr | BGW | B | D | 80 | DRENNAN | BP24-P-18 | BLACK | [11 empty] | 3C #16
4C #8 + #12 SHIELD | G24-RR4-3 | S24-NQ | MagPwr | BGW | B | D | 80 | DRENNAN | BP24-P-18 | BLACK | [11 empty] | 12 PAIR THERMOCOUPLE 0 0
2C #12 TC | G24-RR4-3 | S24-SQ | MagPwr | BGW | B | D | 80 | DRENNAN | BP24-P-18 | BLACK | [11 empty] | 8 PAIR THERMOCOUPLE 0 0
2 PAIR T.S. #22 | G24-RR4-3 | S24-KLIXON | MagTemp | BGW | B | D | 80 | DRENNAN | BP24-P-18 | GREY | [11 empty] | Type K THERMOCOUPLE 25 0
2 PAIR T.S. #22 | G24-RR4-3 | S24-RTD | MagTemp | BGW | B | D | 80 | DRENNAN | BP24-P-18 | GREY | [11 empty] | Type T THERMOCOUPLE 10 0
P-BAR THERMOCOUPLE 0 0
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S1-VD | MagPwr | BGW | B | D | 175 | DRENNAN | BP24-P-18 | GREEN | [11 empty] | Stripflex - R6142 SF
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S1-HD | MagPwr | BGW | B | D | 175 | DRENNAN | BP24-P-18 | WHITE | [11 empty] | TWINAX - R6108 N
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S1-NS | MagPwr | BGW | B | D | 175 | DRENNAN | BP24-P-18 | RED
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S1-SS | MagPwr | BGW | B | D | 175 | DRENNAN | BP24-P-18 | BLACK
4C #8 + #12 SHIELD | G24-RR4-3 | S1-NQ | MagPwr | BGW | B | D | 175 | DRENNAN | BP24-P-18 | BLACK
2C #12 TC | G24-RR4-3 | S1-SQ | MagPwr | BGW | B | D | 175 | DRENNAN | BP24-P-18 | BLACK
2 PAIR T.S. #22 | G24-RR4-3 | S1-KLIXON | MagTemp | BGW | B | D | 175 | DRENNAN | BP24-P-18 | GREY
2 PAIR T.S. #22 | G24-RR4-3 | S1-RTD | MagTemp | BGW | B | D | 175 | DRENNAN | BP24-P-18 | GREY
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S2-VD | MagPwr | BGW | B | D | 240 | DRENNAN | BP24-P-18 | GREEN
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S2-HD | MagPwr | BGW | B | D | 240 | DRENNAN | BP24-P-18 | WHITE
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S2-NS | MagPwr | BGW | B | D | 240 | DRENNAN | BP24-P-18 | RED
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S2-SS | MagPwr | BGW | B | D | 240 | DRENNAN | BP24-P-18 | BLACK
4C #8 + #12 SHIELD | G24-RR4-3 | S2-NQ | MagPwr | BGW | B | D | 240 | DRENNAN | BP24-P-18 | BLACK
2C #12 TC | G24-RR4-3 | S2-SQ | MagPwr | BGW | B | D | 240 | DRENNAN | BP24-P-18 | BLACK
2 PAIR T.S. #22 | G24-RR4-3 | S2-KLIXON | MagTemp | BGW | B | D | 240 | DRENNAN | BP24-P-18 | GREY
2 PAIR T.S. #22 | G24-RR4-3 | S2-RTD | MagTemp | BGW | B | D | 240 | DRENNAN | BP24-P-18 | GREY
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S3-VD | MagPwr | BGW | B | D | 115 | DRENNAN | BP24-P-18 | GREEN
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S3-HD | MagPwr | BGW | B | D | 115 | DRENNAN | BP24-P-18 | WHITE
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S3-NS | MagPwr | BGW | B | D | 115 | DRENNAN | BP24-P-18 | RED
2C #8 + 1C #12 SHIELD | G24-RR4-4 | S3-SS | MagPwr | BGW | B | D | 115 | DRENNAN | BP24-P-18 | BLACK
4C #8 + #12 SHIELD | G24-RR4-3 | S3-NQ | MagPwr | BGW | B | D | 115 | DRENNAN | BP24-P-18 | BLACK
2C #12 TC | G24-RR4-3 | S3-SQ | MagPwr | BGW | B | D | 115 | DRENNAN | BP24-P-18 | BLACK
2 PAIR T.S. #22 | G24-RR4-3 | S3-KLIXON | MagTemp | BGW | B | D | 115 | DRENNAN | BP24-P-18 | GREY
2 PAIR T.S. #22 | G24-RR4-3 | S3-RTD | MagTemp | BGW | B | D | 115 | DRENNAN | BP24-P-18 | GREY
2C #8 + 1C #12 SHIELD | G24-RR5-1 | L2-BEX | MagPwr | BGW | B | D | 145 | DRENNAN | BP24-P-18 | BLACK
2 PAIR T.S. #22 | G24-RR4-3 | L2-BEX-RTD | MagTemp | BGW | B | D | 145 | DRENNAN | BP24-P-18 | GREY
2C #8 + 1C #12 SHIELD | G24-RR5-1 | L3-BEX | MagPwr | BGW | B | D | 200 | DRENNAN | BP24-P-18 | BLACK
2 PAIR T.S. #22 | G24-RR4-3 | L3-BEX-RTD | MagTemp | BGW | B | D | 200 | DRENNAN | BP24-P-18 | GREY
2C #8 + 1C #12 SHIELD | G24-RR5-1 | L4-BEX | MagPwr | BGW | B | D | 268 | DRENNAN | BP24-P-18 | BLACK
2 PAIR T.S. #22 | G24-RR4-3 | L4-BEX-RTD | MagTemp | BGW | B | D | 268 | DRENNAN | BP24-P-18 | GREY
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S4-VD | MagPwr | BTW | B | D | 185 | DRENNAN | L5-8 | GREEN
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S4-HD | MagPwr | BTW | B | D | 185 | DRENNAN | L5-8 | WHITE
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S4-NS | MagPwr | BTW | B | D | 185 | DRENNAN | L5-8 | RED
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S4-SS | MagPwr | BTW | B | D | 185 | DRENNAN | L5-8 | BLACK
4C #8 + #12 SHIELD | G04-RR0-8 | S4-NQ | MagPwr | BTW | B | D | 185 | DRENNAN | L5-8 | BLACK
2C #12 TC | G04-RR0-8 | S4-SQ | MagPwr | BTW | B | D | 185 | DRENNAN | L5-8 | BLACK
2 PAIR T.S. #22 | G04-RR0-8 | S4-KLIXON | MagTemp | BTW | B | D | 185 | DRENNAN | L5-8 | GREY
2 PAIR T.S. #22 | G04-RR0-8 | S4-RTD | MagTemp | BTW | B | D | 185 | DRENNAN | L5-8 | GREY
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S5-VD | MagPwr | BTW | B | D | 165 | DRENNAN | L5-8 | GREEN
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S5-HD | MagPwr | BTW | B | D | 165 | DRENNAN | L5-8 | WHITE
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S5-NS | MagPwr | BTW | B | D | 165 | DRENNAN | L5-8 | RED
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S5-SS | MagPwr | BTW | B | D | 165 | DRENNAN | L5-8 | BLACK
4C #8 + #12 SHIELD | G04-RR0-8 | S5-NQ | MagPwr | BTW | B | D | 165 | DRENNAN | L5-8 | BLACK
2C #12 TC | G04-RR0-8 | S5-SQ | MagPwr | BTW | B | D | 165 | DRENNAN | L5-8 | BLACK
2 PAIR T.S. #22 | G04-RR0-8 | S5-KLIXON | MagTemp | BTW | B | D | 165 | DRENNAN | L5-8 | GREY
2 PAIR T.S. #22 | G04-RR0-8 | S5-RTD | MagTemp | BTW | B | D | 165 | DRENNAN | L5-8 | GREY
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S6-VD | MagPwr | BTW | B | D | 230 | DRENNAN | L5-8 | GREEN
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S6-HD | MagPwr | BTW | B | D | 230 | DRENNAN | L5-8 | WHITE
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S6-NS | MagPwr | BTW | B | D | 230 | DRENNAN | L5-8 | RED
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S6-SS | MagPwr | BTW | B | D | 230 | DRENNAN | L5-8 | BLACK
4C #8 + #12 SHIELD | G04-RR0-8 | S6-NQ | MagPwr | BTW | B | D | 230 | DRENNAN | L5-8 | BLACK
2C #12 TC | G04-RR0-8 | S6-SQ | MagPwr | BTW | B | D | 230 | DRENNAN | L5-8 | BLACK
2 PAIR T.S. #22 | G04-RR0-8 | S6-KLIXON | MagTemp | BTW | B | D | 230 | DRENNAN | L5-8 | GREY
2 PAIR T.S. #22 | G04-RR0-8 | S6-RTD | MagTemp | BTW | B | D | 230 | DRENNAN | L5-8 | GREY
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S7-VD | MagPwr | BTW | B | D | 295 | DRENNAN | L5-8 | GREEN
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S7-HD | MagPwr | BTW | B | D | 295 | DRENNAN | L5-8 | WHITE
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S7-NS | MagPwr | BTW | B | D | 295 | DRENNAN | L5-8 | RED
2C #8 + 1C #12 SHIELD | G04-RR0-9 | S7-SS | MagPwr | BTW | B | D | 295 | DRENNAN | L5-8 | BLACK
4C #8 + #12 SHIELD | G04-RR0-8 | S7-NQ | MagPwr | BTW | B | D | 295 | DRENNAN | L5-8 | BLACK
2C #12 TC | G04-RR0-8 | S7-SQ | MagPwr | BTW | B | D | 295 | DRENNAN | L5-8 | BLACK
2 PAIR T.S. #22 | G04-RR0-8 | S7-KLIXON | MagTemp | BTW | B | D | 295 | DRENNAN | L5-8 | GREY
2 PAIR T.S. #22 | G04-RR0-8 | S7-RTD | MagTemp | BTW | B | D | 295 | DRENNAN | L5-8 | GREY

## RTD_KLIXON CABLE
Suffix | Cable Type | ORIGIN (13 Characters) | DESTINATION (10 Characters) | FUNCTION (Acnet Device Name) | SVC BLDG | MACH | SYS | LENGTH (Feet) | REQSTR | PENE- TRATION | COMMENT
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S01-KLIXON | MagTemp | BGW | B | D | 175 | DRENNAN | BP24-P-18 | GREY
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S01-RTD | MagTemp | BGW | B | D | 175 | DRENNAN | BP24-P-18 | GREY
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S02-KLIXON | MagTemp | BGW | B | D | 240 | DRENNAN | BP24-P-18 | GREY
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S02-RTD | MagTemp | BGW | B | D | 240 | DRENNAN | BP24-P-18 | GREY
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S03-KLIXON | MagTemp | BGW | B | D | 115 | DRENNAN | BP24-P-18 | GREY
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S03-RTD | MagTemp | BGW | B | D | 115 | DRENNAN | BP24-P-18 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S04-KLIXON | MagTemp | BTW | B | D | 185 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S04-RTD | MagTemp | BTW | B | D | 185 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S05-KLIXON | MagTemp | BTW | B | D | 165 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S05-RTD | MagTemp | BTW | B | D | 165 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S06-KLIXON | MagTemp | BTW | B | D | 230 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S06-RTD | MagTemp | BTW | B | D | 230 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S07-KLIXON | MagTemp | BTW | B | D | 295 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G04-RR0-8 | S07-RTD | MagTemp | BTW | B | D | 295 | DRENNAN | L5-8 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S08-KLIXON | MagTemp | BGE | B | D | 280 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S08-RTD | MagTemp | BGE | B | D | 280 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S09-KLIXON | MagTemp | BGE | B | D | 215 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S09-RTD | MagTemp | BGE | B | D | 215 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S10-KLIXON | MagTemp | BGE | B | D | 150 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S10-RTD | MagTemp | BGE | B | D | 150 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S11-KLIXON | MagTemp | BGE | B | D | 90 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G11-RR7-3 | S11-RTD | MagTemp | BGE | B | D | 90 | DRENNAN | BP11-P-2 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S12-KLIXON | MagTemp | BGE | B | D | 205 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S12-RTD | MagTemp | BGE | B | D | 205 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S13-KLIXON | MagTemp | BGE | B | D | 145 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S13-RTD | MagTemp | BGE | B | D | 145 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S14-KLIXON | MagTemp | BGE | B | D | 80 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S14-RTD | MagTemp | BGE | B | D | 80 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S15-KLIXON | MagTemp | BGE | B | D | 140 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G14-RR5-3 | S15-RTD | MagTemp | BGE | B | D | 140 | DRENNAN | BP14-P-13 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S16-KLIXON | MagTemp | BGE | B | D | 100 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S16-RTD | MagTemp | BGE | B | D | 100 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S17-KLIXON | MagTemp | BGE | B | D | 160 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S17-RTD | MagTemp | BGE | B | D | 160 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S18-KLIXON | MagTemp | BGE | B | D | 225 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S18-RTD | MagTemp | BGE | B | D | 225 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S19-KLIXON | MagTemp | BGE | B | D | 290 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G16-RR2-3 | S19-RTD | MagTemp | BGE | B | D | 290 | DRENNAN | BP16-P-8 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S20-KLIXON | MagTemp | BGW | B | D | 160 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S20-RTD | MagTemp | BGW | B | D | 160 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S21-KLIXON | MagTemp | BGW | B | D | 95 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S21-RTD | MagTemp | BGW | B | D | 95 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S22-KLIXON | MagTemp | BGW | B | D | 130 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S22-RTD | MagTemp | BGW | B | D | 130 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S23-KLIXON | MagTemp | BGW | B | D | 195 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G21-RR4-4 | S23-RTD | MagTemp | BGW | B | D | 195 | DRENNAN | BP21-P-14 | GREY
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S24-KLIXON | MagTemp | BGW | B | D | 80 | DRENNAN | BP24-P-18 | GREY
RTD | 2 PAIR T.S. #22 | G24-RR1-3 | S24-RTD | MagTemp | BGW | B | D | 80 | DRENNAN | BP24-P-18 | GREY
| 2 PAIR T.S. #22 | G24-RR4-3 | L2-BEX-RTD | MagTemp | BGW | B | D | 145 | DRENNAN | BP24-P-18 | GREY
| 2 PAIR T.S. #22 | G24-RR4-3 | L3-BEX-RTD | MagTemp | BGW | B | D | 200 | DRENNAN | BP24-P-18 | GREY
| 2 PAIR T.S. #22 | G24-RR4-3 | L4-BEX-RTD | MagTemp | BGW | B | D | 268 | DRENNAN | BP24-P-18 | GREY
|  |  |  | SUM |  |  |  | 8903

## Instructions
GETTING STARTED:
*Enter YOUR NAME and the PROJECT NAME in PAGE SET UP as a CUSTOM HEADER on this Form ( in the Center and Right sections)
TO DO SO:
*CLICK ON => FILE > PAGE SET UP > HEADER / FOOTER > CUSTOM HEADER
*CLICK ON => VIEW > HEADER FOOTER > CUSTOM HEADER
*Proceed to enter HEADER information In BOTH the CENTER and RIGHT SECTIONS [ in place of "Your Project Name" & Your Name]
*Delete this row once done
Titles | CableType | ORIGIN ( 13 Charecters) | DESTINATION (10 Characters) | FUNCTION (Acnet Device name) | SVC BLDG | MACH | SYS | LENGTH (Feet) | REQSTR | PENETRATION | Rack | IN Utillity Cable Run | In Tunnel | Ground Level | In Srvc. Bldg. | Side | NuMI Ref # | COMMENT
Definition | Cable Type as defined in Sheet 3 | Start point of the cable pull | End Point of the Cable Pull | Function of the cable usually the Acnet Device name which uses the cable | Service Building where associated with this pull | Machine Designator from list on sheet 3 | System Designator from list on sheet 3 | Length of the Cable | Person Requesting entry | Penetration used during the pull | Rack Number used by this Cable | Does the cable us a Uttility Cable Run | Does the cable Run in the Tunnel | Above or below Ground | At what level in the Service Building | Direction to cable |  | Comments about this Cable

## Reference Information
Fermilab Accelerator Division Cable Database Information
Cabel Code and Cable Type | [7 empty] | System Designators
Cable Code | Cable Type | Cable Code | Cable Type | Cable Code | Cable Type | Cable Code | Cable Type | Designator | Definition
AE | Telephone, 25 Pair | FF | Fiber Optic Singlemode, 24 Fiber | MW | 26C #22 | PI | 2C #6 | A | Power AC
AF | Telephone, 50 Pair | FN | Fiber Optic Multimode, 2 Fiber | MX | 6C 15KV | PJ | 500 MCM | B | TV System
AG | Telephone, 100 Pair | FR | Fiber Optic Multimode, 12 Fiber | MY | 14C #16(10KV); 2C #20; 6C #20 WITH SHIELD - STOCH HOME MADE | PK | 646 MCM | C | Cryogenics
AH | Telephone, 400 Pair | FS | Fiber Optic Multimode, 24 Fiber | MZ | 3C #24 | PL | 4C #12 SO | D | Power DC
C1 | 2C RG174 | FT | Fiber Optic Multimode, 36 Fiber | NA | UNDECIDED | PM | 5C #12 SO | E | Control
C2 | RG174U GREEN | LA | 40C #22 | NX | 12 Pair T.S. #22 | PN | 3C #10 SO | F | RF
C4 | 1/4" SEMIRIGID | LB | 19C #18 | NY | 4 PAIR T.S. #16 | PO | 4C #10 SO | G | Firus
C5 | 10C RG58 | LC | 5C #18 | NZ | 9 PAIR T.S. #18 | PP | 5C #18 SO | H | Cyber Network
C6 | 33C RG174 | LD | 25C #18 | O1 | 5 PAIR T.S. #24 | PQ | 3C #4 TC | I | Instrumentation
C7 | 23C RG174 RED | LE | 2C #22 | OA | 2 PAIR T.S. #22 | PR | 4C #8 SO | J | Power Control DC
C8 | 17C RG58 | LF | 37C #24 | OB | 3 PAIR T.S. #22 | PS | #1 | K | Control Devices
C9 | 26C RG174 | LG | 5C #22 Shielded | OC | 4 PAIR T.S. #22 | PT | #2 | L | LCW System
CA | RG213 BLACK | LH | 4C #16 Shielded | OD | 1 PAIR T.S. #16 | PU | #3 | M | Magnets
CB | RG58 GREEN | M0 | 5C #16, 1C RG174 | OE | 2 PAIR T.S. #16 | PV | #4 | N | Klystron
CC | RG58 RED | M1 | 12C #18 | OF | 6 PAIR T.S. #22 | PW | #6 | O | MEBT
CD | RG8U FOAM 8 | M2 | 6C #24 | OG | 1 PAIR T.S. #20 | PX | #8 | P | Pulsed Power
CE | 18C RG174 | M3 | 12C #16 | OH | 2 PAIR T.S. #18 | PY | 262 MCM | Q | RFQ
CF | RG62A/U | M4 | 8C #22 | OI | 19 PAIR T.S. #22 | PZ | 2C #10 | R | Radiation Safety/Security
CG | RG108A/U | M5 | 12C #20 | OJ | 3 PAIR T.S. #16 | QA | 3C #12 TC | S | Stochastic
CH | RG213 GREEN | M6 | 4C #12; 1C RG174 | OK | 27 PAIR T.S. #22 | QB | 4C #10 TC | T | Telephone
CI | RG59/U BLACK | M7 | 32C #22 | OL | 6 PAIR T.S. #18 | QC | 2C 1/0 TC | U | Ion Source
CJ | RG213 RED | M8 | 3C #20 | OM | 18 PAIR T.S. #22 | QD | 2C #4 | V | Vacuum
CK | 3/8" HELIAX | M9 | 4C #20 | ON | 1 PAIR T.S. #22 | QE | 3C #10 TC | W | SC Test Cavity
CL | 1/2" HELIAX | MA | 3C #16 | OO | 3 PAIR T.S. #20 | QF | 4C #16 TC | X | RF Test Cavity
CM | 12C RG58 | MB | 8C #16 | OP | 3 PAIR T.S. #24 | QG | 6C #18 TC
CN | 50C RG174 | MC | 16C #16 | OQ | 8 PAIR T.S. #16 | QH | 2C #10 + 1C #12 SHIELD
CO | DS 2134 - Septa HV | MD | 6C #22 | OR | 12 PAIR T.S. #20 | QI | 2C #8 + 1C #12 SHIELD | Mach/BL/R&D Designators
CP | 1/2" DISK H.L. | ME | 10C #22 | OS | 15 PAIR T.S. #22 | QJ | 2C #8 TC | Designator | Definition
CQ | 1/2" FOAM H.L. | MF | 6C #10 | OT | 9 PAIR T.S. #22 | QK | 2C #12 TC | A | Anti Proton Beam Line (A1) Prior to 2007
CR | CAC 6 | MG | 9C #16; 6C #20 | OU | 1 PAIR T.S. #18 | QL | 4C #8 + #12 SHIELD | A | Accumulator 2007 and After
CS | RG58A/U FOAM | MH | 4C #16; 1C RG174 | OV | 6 PAIR T.S. #20 | RA | 60C TWISTED PAIR | B | Booster and 8 GeV Beam Line
CT | Belden, YR - 20621 | MI | 10C #20 | OW | 3 PAIR T.S. #24; 1 PAIR T.S. #18 | RB | 25C RIBBON COAX | C | Abort Beam Line
CU | RG220A/U | MJ | 20C #18 | OX | 3 PAIR T.S. #18 | RC | 26C RIBBON COAX | D | Booster Ring Entries Prior to 2004
CV | 20C RG58A/U | MK | 37C #22 | OY | 15 PAIR T.S. #18 | RD | 50C #28 FLAT RIBBON (Rolled Round) | D | Debuncher 2007 and After
CW | 1/4" FOAM HELIAX | ML | 48C #22 | OZ | 4 PAIR T.S. #18 | SP | Special (to be supplied by FNAL) | E | Electron Cooling (Recycler)
CX | 7/8" FOAM HELIAX | MM | 6C #20 | P1 | 4C - 500MCM | TA | 3C #16 | I | Main Injector Ring
CY | 1 5/8" FOAM HELIAX | MN | 48C #20 | P2 | 930 MCM | TC | 12 PAIR THERMOCOUPLE 0 0 | L | Linac
CZ | 1 5/8" AIR RIGID | MO | 20C #20 | PA | 1/0 | TD | 8 PAIR THERMOCOUPLE 0 0 | M | Main Ring Remnant (P2, P3) Prior to 2007
DA | 8C RG174 | MP | 2C #20 | PB | 2/0 | TE | Type K THERMOCOUPLE 25 0 | M | Presently Unassigned 2007 and After
DB | 12C RG174 | MQ | 15C #20 | PC | 4/0 | TF | Type T THERMOCOUPLE 10 0 | N | Numi Beam Line
DC | 16C RG58C/U | MR | 15C #22 | PD | 250 MCM | TJ | Type J THERMOCOUPLE 33 0 | P | Proton Beam Line (P1) Prior to 2007
DD | RG11/U BLACK | MS | 20C #22 | PE | 350 MCM | TT | P-BAR THERMOCOUPLE 0 0 | P | Presently Unassigned 2007 and After
DE | CAT 5 (Network) | MT | 2C #18 | PF | 535 MCM | TU | TWINAX - R6108 N | R | Recycler Ring
DF | CAT 6 (Network) | MU | 6C #16 | PG | 750 MCM | TV | Stripflex - R6142 SF | S | Switchyard
FE | Fiber Optic Singlemode, 12 Fiber | MV | 4C #18 | PH | 3C #12 SO |  |  | T | Tevatron
[8 empty] | V | MiniBooNE Beam Line
[8 empty] | W | R&D Activities at MDET
[8 empty] | X | R&D Activities at NML
|  |  | Service Building |  |  |  |  | Y | R&D Activities at A0E
|  |  | Lab B |  |  |  |  | Z | Other R&D Activities at Other Places
NML
Tunnel
Note on K19: jcwilson-admin: