## Slide 1: Linac Laser Notcher Free-Space optics
Todd Johnson
Laser Notcher External Review
14-15 November 2016

## Slide 3: Beam sizes through the Free Space system

## Slide 4
Jay Doster simulations for two-pass amplification in RBA & REA
modules for 16 notch pulses and 16 pulses/notch assuming 4.7 uJ/pulse.
--- Simulations don’t take into account pre-distortion of pulses…
--- Both modules operate at 130 A (nominal) pulsed at 15 Hz (max pulse 250 us)
--- RBA stores about 40 mJ and each pulse will extract 200-600 uJ
---REA operates in nearly ‘steady state’ .
The amount of energy stored due to diode pumps between each pulse
is equal to the energy extracted each pulse

## Slide 6
Set up timing for RBA and REA according to Jay’s simulations.
Shifted REA a little earlier which flattened out notch pulses
Example of timing adjustment for RBA & REA

## Slide 7: Free Space Amplifier(s)
Two amplifier modules (double pass) REA and RBA
RBA SSG measurement
REA SSG measurement
Zero current
130 Amp
440 uV
360 mV
880 uV
652 mV
120 A
SSG ~ 30 dB for REA
Notch
Bunch

## Slide 8: High Frequency Instability in Grumman modules
RBA 0A
RBA 130A