## Slide 1: Mechanical Update
Kevin Duel
Booster 2nd Harmonic Cavity
02 March 2017

## Slide 2: Overall View

## Slide 3: Tube Cooling
Flow Estimate:
  9 GPM for 20% anode efficiency
  < 5 GPM for 60% anode efficiency
For 3/8 pipe, 9 GPM is about the max allowable flow based on velocity
Existing Booster cavities use ~1/2 pipe size

## Slide 4: 3/8 Pipe Size Tube Cooling
.029”
Will thin bottom of shroud to give more clearance ~3/32 more
3/8 pipe fitting shown
- ½ pipe will require additional .153” of clearance
- ½ pipe would require raising tetrode

## Slide 5: 3/8 Pipe Size Tube Cooling
Need cutouts on outer shell
- prefer not to cut through weld
Booster has large tube and fan

## Slide 6: Outer Cooling Jacket

## Slide 7: Tuner Inner Conductor to Beam Tube Design
Copper to stainless braze
Stainless to stainless weld
- 4 places
Copper to copper weld