Status Report
C.Y. Tan
09 Nov 2017

---
Updates
- PS for the solenoid bias has been received
  - Matt Kufer and Mike ? Will install on relay rack.
- Conical windows have been received
  - Ding has leaked checked the windows – OK
- Received alumina for shim garnet ring.
  - Sent to National.
- Work continues
  - to derive Robinson stability criterion for double harmonic systems – Tan
  - Gaskets (10) to be made for the garnet test cavity.

---
Conical window
CMM results show that the distance between flange and high voltage tip of the beam pipe is shorter than spec. by ~ 0.02" (average)
The high voltage tip has a ~ 0.2" long nick and some scratches. That is really undesirable. Ding will carefully polish it