## Notes
Compare Measurements of Activation to MARS simulations - Copper
Measurements from CopperActData_2017 as stored in Beams-doc-4046-v3
MARS from Analysis_Copper_July2019.xlsx
From Beams-doc-4867 | Rads/proton | protons/Rad
LI307/C307 from Al Tags (Table 5) | 2.097e-13 | 4.7687e+12
LI307/C307 from Residual Radiation (Table 6) | 1.48e-13 | 6.7568e+12
LI307/C307 from Fit (Table 9) | 1.0777e-13 | 9279000000000
Average | 1.5516e-13 | 6.9348e+12

## Results
Comparison with Measurements in SteelActData_2017
See Beams-doc-4046-v3
MARS from Analysis_Steels_Oct2018.xlsx
|  | Measured |  |  |  | MARS |  | Meas/MARS
Sample | Half Life | Cu_1617 | Cu 7/32 | Cu_1617 | Cu 7/32 | shi8 | uns7 | shi8 | uns7
| days | Shielded | Unsh | Shielded | Unsh | Shielded | Unsh | Shielded | Unsh
|  | pCi/gm / (Rad/sec) |  | pCi/gm/(p/sec) |  | pCi/gm/(p/sec) |  | Meas/MARS
(convert using Al Tag Calibration)
|  | Shielded | Unshielded | Shielded | Unshielded | Shielded | Unshielded | Shielded | Unshielded | s8u4rat
Ag-110m | 249.95 | 204370.0948 |  | 4.2856e-08
Au-198 | 2.6952 | 9870.067 |  | 2.0698e-09
Co-55 | 0.73042 |  | 388516.7622 |  | 8.1472e-08 | 2.5924e-09 | 4.0695e-08 |  | 2.002 | 15.8539
Co-56 | 77.233 | 22946.1888 | 4642456.5265 | 4.8118e-09 | 9.7352e-07 | 1.6908e-08 | 1.8341e-07 | 0.28459 | 5.308 | 10.7529
Co-57 | 271.74 | 120019.2503 | 13500904.0607 | 2.5168e-08 | 2.8311e-06 | 8.244e-08 | 6.9188e-07 | 0.30529 | 4.0919 | 8.9873
Co-58 | 70.86 | 193035.616 | 21993176.4634 | 4.048e-08 | 4.612e-06 | 1.3602e-07 | 9.2801e-07 | 0.29761 | 4.9698 | 7.744
Co-60 | 1925.8 | 131544.7355 |  | 2.7585e-08 |  | 8.8425e-08 | 4.9363e-07 | 0.31196 |  | 6.4636
Cr-51 | 27.7 | 20318.7493 |  | 4.2608e-09 |  | 1.2465e-08 | 2.5714e-07 | 0.34182 |  | 23.5077
Cu-61 | 0.13887 |  | 19978161.8671 |  | 4.1894e-06 | 1.7614e-07 | 1.0021e-06 |  | 4.1808 | 6.2865
Cu-64 | 0.52917 | 260902631.2849 | 494392081.5968 | 5.4711e-05 | 0.00010367 | 5.0608e-05 | 4.7739e-05 | 1.0811 | 2.1717 | 1.3869
Fe-59 | 44.5 | 13874.2039 |  | 2.9094e-09 |  | 7.115e-09 | 4.5797e-08 | 0.40891 |  | 7.6093
K-43 | 0.9292 |  | 209229.6077 |  | 4.3875e-08 | 8.0418e-11 | 7.949e-09 |  | 5.5196 | 104.054
Mn-52 | 5.591 | 8664.7188 | 1601733.8609 | 1.817e-09 | 3.3588e-07 | 6.2585e-09 | 1.2225e-07 | 0.29032 | 2.7475 | 19.8072
Mn-54 | 312.2 | 48838.1836 |  | 1.0241e-08 |  | 2.8902e-08 | 3.5809e-07 | 0.35435 |  | 13.7096
Mn-56 | 0.1074 |  | 2742752.6393 |  | 5.7516e-07 | 7.7725e-09 | 8.6772e-08 |  | 6.6284 | 11.9704
Na-24 | 0.62329 |  | 61163.4355 |  | 1.2826e-08 |  | 2.9292e-09 |  | 4.3787
Ni-57 | 1.4833 |  | 370667.2764 |  | 7.7729e-08 | 2.6859e-09 | 3.24e-08 |  | 2.3991 | 13.7489
Sc-44m | 2.44 |  | 376679.0631 |  | 7.899e-08
Sc-47 | 3.341 |  | 221766.5552 |  | 4.6504e-08 | 8.3718e-10 | 3.3884e-08 |  | 1.3725 | 45.9685
Sc-48 | 1.82 |  | 130584.3836 |  | 2.7384e-08 | 2.6801e-10 | 1.0041e-08 |  | 2.7271 | 43.704
Se-75 | 119.779 | 6835.8563 |  | 1.4335e-09
Ti-44/Sc-44 | 17275.85 |  | 2338644365.7709 |  | 0.00049041 | ---------- | ----------
V-48 | 15.98 | 5313.9174 | 827081.9427 | 1.1143e-09 | 1.7344e-07 | 3.3747e-09 | 1.0031e-07 | 0.3302 | 1.7291 | 29.279
Sc-44 | 0.16542 |  | 552609.7917 |  | 1.1588e-07 | 9.5619e-10 | 5.2721e-08 |  | 2.198 | 62.1945
Average | [7 empty] | 0.40061 | 3.4949