## Slide 1: MS2 LCW system reconfiguration
Abhishek Deshpande
Update
14 Feb 2020

## Slide 2: Outline
Tunnel
AT-1
Power supplies
AT-2
AT-3
AT-4
Tunnel
Power supplies
Power supplies
Power supplies
Pump room
Power supply room
2” Lines to M01 RAW system

## Slide 3: Outline
Tunnel
2 X 140 Ton chillers (980 kW)
Plate and frame HX
Tunnel
Power supplies
Power supplies
Pump room
Reservoir tank
https://www.aaon.com/LN
6’ X6’ skid

## Slide 4: Outline
Tunnel
2 X 140 Ton chillers
Plate and frame HX
Tunnel
Power supplies
Power supplies
Pump room
Reservoir tank
https://www.aaon.com/LN
Use existing piping on roof
4”-5” IPS lines (new)
~400 Gpm
~500 Gpm
6’ X6’ skid